## Summary
Reference number |  | RFP/CHAI/PIP/9LAO1
Definations
| Total Cost of RFP | 0 |  | PSM | Procurement and Supply Chain Management Cost
| Number of products | 12 |  | 3PL | Third party Logistics company
| Health facility name |  |  | Lead time | Time order is placed till products gets to the delivery address
Break down of PSM costs |  |  |  | Comments from supplier
S/no | Activity | % | Cost (USD)
1 | Freight
2 | Warehouse
3 | Quality Control
4 | Insurance
5 | Handling

## Product
Reference number |  | RFP/CHAI/PIP/9LAO1
Product information
S/no | Product | Model | Unit | Supplier | Quantity | Unit Cost (USD) | Total Product cost(USD) | Total PSM costs(USD) | Total cost(USD) | INCOTERM | 3PL details | Country | Delivery address | Consignee details | Shipping documents | Lead time (days)
1 | [Specify type] oxygen manifold system |  | Set |  |  |  | 0 |  | 0
1.1 | 2x## manifold |  | Pieces |  |  |  | 0 |  | 0
2 | Medical Gas Terminal Units |  | Pieces |  |  |  | 0 |  | 0
3 | Area Alarm Unit |  | Pieces |  |  |  | 0 |  | 0
4 | Zone Service Units |  | Pieces |  |  |  | 0 |  | 0
5 | Master Alarm Units |  | Pieces |  |  |  | 0 |  | 0
6 | Medical copper pipe | N/A |  |  |  |  | 0 |  | 0
6.1 | Dia. 12mm | N/A | Meter |  |  |  | 0 |  | 0
6.2 | Dia. 15mm | N/A | Meter |  |  |  | 0 |  | 0
6.3 | Dia. 22mm | N/A | Meter |  |  |  | 0 |  | 0
6.4 | Dia. 28mm | N/A | Meter |  |  |  | 0 |  | 0
6.5 | Dia. 35mm | N/A | Meter |  |  |  | 0 |  | 0
7 | Support structure | N/A | Lump sum |  |  |  | 0 |  | 0
8 | Copper fittings and accessories | N/A | Lump sum |  |  |  | 0 |  | 0
9 | Pipe trunking | N/A | Lump sum |  |  |  | 0 |  | 0
10 | Flowmeter |  | Pieces |  |  |  | 0 |  | 0
11 | Humidifier |  | Pieces |  |  |  | 0 |  | 0
12 | Installation inclusive of team travel, room and board | N/A | Lump sum |  |  |  | 0 |  | 0
13 | [other] | [5 empty] | 0 |  | 0

## Services and Project Timeline
Reference number |  | RFP/CHAI/PIP/9LAO1
Services and Project Timeline
Activity | Duration | Start | Finish | Comments
Procurement of all project materials
Submission of third party documentation for chemical and physical composition, cleaning, and degreasing of piping hardware (as per ASTM B-819, NFPA 99 and/or equivalent)
Staging of works at site
Installation at site (Note: this is an existing operational facility)
Testing
Comissioning
Delivery of comprehensive training to facility team
Completion of handover including provision of the following to CHAI, MOH, and facility team:
As-built design DWGs (if deviation from proposed DWGs)
Testing report
Commissioning report and certificate

## Vendor details
Vendor information
Company Name
Local Address (HQ)
Phone
Contact name
Contact information
Years in Business
Any quality certifications (type e.g., QMS & date); Please attach copies of each certificate to RFP submission
Previous export experience to target countries (please describe and list any relevant registrations, qualifications, licenses, attaching copies of each to RFP)
Client portfolio
Tax Identification Number
3PL information
Company Name
Contact information
HQ Location
After care services provided as a part of the warranty
Nature of Partnership
Products Covered
Additional Costs

## Submission Checklist
S/no | Submission Checklist | Document attached (Yes or No)
1 | Business Registeration
2 | Company profile
3 | Tax clearance certificate
4 | Completed Annex A
5 | Completed Annex B
6 | Standard documents attached e.g CE, FDA
7 | Evidence of previous export to target countries