## Summary
| REFERENCE NUMBER | CIVIL WORKS - RFP/CHAI-TZ-EAPOA-002/25
Item | Healthcare Facility | Total Tshs | Delivery Period (WKS) | Comments
1 | Bochi Hospital | 0
2 | Tumbi Regional Referral Hospital | 0
3 | Morogoro Regional Referral Hospital | 0
4 | Dodoma Regional Referral Hospital | 0
5 | Manyara Regional Referral Hospital | 0
6 | Mount Meru Regional Referral Hospital | 0
7 | Songea Regional Referral Hospital | 0
8 | St. Benedict Ndanda Referral Hospital | 0
9 | Sekou Toure Regional Referral Hospital | 0
10 | Mbeya Regional Referral Hospital | 0
| Total in Tanzanian Shillings | 0

## MBEYA
BILLS OF QUANTITIES [BOQs]
CIVIL WORKS - RFP/CHAI-TZ-EAPOA-002/25
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
PREAMBLES
A1 | The project will include six (6) main tasks namely; i) Reinforced concrete plinth to support the 6t-VIE-Tank; ii) Palisade fencing around three-sides of the plinth perimeter; iii) Solid-concrete-blocks wall on one side of the plinth perimeter and, Paving-blocks Apron around the plinth-perimeter; iv) Electrical installations that include 3-phase-power-sockets and, 2-security-lights fixed on steel-poles; v) Tap-water near oxygen-tank for de-icing of valves or to handle emergency situations; vi) Fire-fighting-system which is subject to tender-outcome
A2 | Engagement of Registered Building Contractor by Contractors Registration Board (CRB) in Class-Five and above is inavitable also, a specialist domestic Electrical Sub-contractor is necessary for appropriate sketch and implementation of power and security-lights
A3 | The VIE-Tank will be supplied and installed by other Vendor; but, she will also supply the Anchor-Bolts to be embedded in the reinforced concrete slab by you as per the Drawings;
A4 | Anchor-Bolts for Vaporizers will be supplied and fixed in reinforced concrete slab complete with washers by you;
A5 | The Fire-fighting-system allowance is provisional subject to the outcome of the tender;
A6 | The site is within the Mbeya Regional Referral Hospital, Mbeya City in Mbeya Region; about 2m off-within-hospital road to site entrance, located next to the water-tanks-slab and physiotherapy-department;
PRELIMINARIES
B1 | By-Laws | 1 | Item |  | 0
B2 | Power for the works | 1 | Item |  | 0
B3 | Water for the works | 1 | Item |  | 0
B4 | Working-tools such as ladders and the like; | 1 | Item |  | 0
B5 | Transport for materials | 1 | Item |  | 0
B6 | Construction management | 1 | Item |  | 0
B7 | Mix-Design for Reinforced Concrete Grade-30 | 1 | Item |  | 0
B8 | Testing of Materials (sand; aggregates; reinforcements; water) and Components (concrete-cubes; solid-blocks/bricks) | 1 | Item |  | 0
B9 | Concrete-Mixer, Plate-compactor and the like; | 1 | Item |  | 0
B10 | Cleaning the site for commissioning; | 1 | Item |  | 0
B11 | Signage | 1 | Item |  | 0
B12 | Safety-gears | 1 | Item |  | 0
1 | DEMOLITIONS AND ALTERATIONS
1.1 | Cut a tree; not exceeding 200mm diameter 1 in No; prunning to 1-big tree; disposee away from site | 1 | Item |  | 0
1.2 | Create a drift 5m-long; paving-walkway 5x1.2m adjacent to drift | 1 | Item |  | 0
2 | EXCAVATION AND EARTHWORK
Site preparation
2.2 | Excavate Oversite average 300mm deep to remove vegetable soil load up wheel and cart away | 72 | M2 |  | 0
General excavation
Trenches excavation
2.3 | Excavate to reduce levels not exceeding 1.5m deep from stripped level | 95 | M3 |  | 0
Backfilling excavated materials
2.4 | Level and compact surface of excavation or filling in layers not exceeding 200mm thick | 32 | M3 |  | 0
Surplus excavated material
2.5 | load up and remove surplus excavated material to stockpile on/off site not exceeding 40km distance | 15 | M3 |  | 0
Imported Sand; deposited and compacted in layers granular fill compacted in 150mm layers to 95% maximum dry density (m.d.d)
2.6 | Around foundations | 10 | M3 |  | 0
2.7 | On top of hardcore | 18 | M3 |  | 0
Plunking and Strutting
2.8 | Allow for planking and strutting to sides of excavations | 1 | Item |  | 0
Disposal of Water
2.9 | Allow for keeping excavations free from mud and all water including spring and running water by pumbing pailing and other approved means | 1 | Item |  | 0
Murram blinding below hardcore surfaces
2.1 | 50mm thick layer murram or other equal and approved to the surface of trench | 35 | M2 |  | 0
Blinding; Grade 10 (nominal mix 1:3:6; 15N/mm2 at 28 days)
2.11 | 50mm thick to receive hardcore bed (m.s.) | 35 | M2 |  | 0
Hardcore Bed
2.12 | 300mm thick layer approved hardcore filling well watered, rolled and compacted in layers not exceeding 150mm thick under floors to level and slope as required | 29 | M2 |  | 0
Soil Sterilization
2.13 | TERMIDOR 25EC' or other equal and approved chemical anti-termitr treatment to top surfaces of sand-blinded hardcore | 29 | M2 |  | 0
Damp Proof Membrane (DPM)
2.14 | 1000 gauge polythene damp-proof sheeting laid on blinded smooth finished hardcore bed with 300mm side and end laps to receive conrete bed (m.s) | 29 | M2 |  | 0
In-situ Reinforced Concrete; Raft-Foundation; Grade 30
2.15 | 500mm thick floor slab | 26 | M2 |  | 0
2.16 | 150mm thick Ramp | 5 | M2 |  | 0
2.17 | Ground beam | 4 | M3 |  | 0
Reinforcement including bends, hooks, tying wires, distant blocks and ordinary spacers; Hot Rolled; High Yield Steel Bars BS 4449 - Assorted sizes as per the drawings; High Yield Strength 460MPa; Cutting and Bending as per BS 8666; to slabs and beams (Provisional)
2.18 | Y20 | 323 | Kg |  | 0
2.19 | Y16 | 323 | Kg |  | 0
2.2 | Y12 | 200 | Kg |  | 0
2.21 | Y10 | 11 | Kg |  | 0
Sawn Formwork; vertical or battering surfaces
2.22 | Edges of ground-beams | 12 | M2 |  | 0
Plinth Finishing
2.23 | 12mm thick cement sand mix (1:3) plastering; 3mm thick stucco or equal and approved surface well lied with steel trowelled finish on concrete surfaces | 12 | M2 |  | 0
2.24 | Prepare and apply three coats of black bituminous paint to rendered surfaces of plinths | 12 | M2 |  | 0
Floor Finish
2.25 | 32mm thick cement sand mix (1:3) screed well lied with steel-trowelled finish; | 31 | M2 |  | 0
Holding Down Anchor Bolts
2.26 | Tank to be anchored down using HILT-Chemical-Anchors (to be supplied and specified by tank manufacturer) to be appropriately embedded in the reinforced-concrete-slab; with minimum of 3-anchor-bolts in each-leg; | 1 | Item |  | 0
2.27 | Supply and fix metal-hollow-tubes footing to receive 40x40mm main members (m.s); embedded in reinforced concrete slab; 300mm deep | 9 | Nr |  | 0
2.28 | Supply and fix Anchor-bolts complete with washels to receive Vaporiser (to be supplied and specified by manufacturer) | 1 | Item |  | 0
Foundation Apron around plinth-perimeter
2.29 | 600x600x50mm; Concrete-Paving-Slabs around | 15 | M2 |  | 0
3 | FENCING (SOLID BLOCKWORK AND PELISADE)
3.1 | 230mm thick Solid cement-sand blocks with strength of 4.5MPa: bedded and jointed in cement/sand mortar(1:4): external | 13 | M2 |  | 0
3.2 | Plastering internal; 12mm thick mix 1:3) cement sand plaster; 3mm thick stucco or equal and approved to masonry-walling | 13 | M2 |  | 0
3.3 | 230x300mm In-situ reinforced concrete Beam Grade-30 including necessary shuttering | 1 | M3 |  | 0
Roofing (provisional)
3.4 | Supply and fabricate; welded and socketed; 50x50x4mm Mild-steel Angle Section Trusses; apply two coats of anti-rust-paint and; one finishing gloss-oil-paint; | 40 | M |  | 0
3.5 | Supply gauge 26 gauge IT5 Resincoated Alu-zink roof sheets including self-drilling screws and fix to metal purlins. | 12 | M2 |  | 0
3.6 | Supply and fix gauge 26 resincoated plain-sheets welded to Barge and Fascia | 17 | M |  | 0
3.7 | Prime quality softwood timber; Fascia Board | 6 | M |  | 0
3.8 | UPVC Gutter 6m long complete with clips and one down-pipe 2.3 high; | 1 | Item |  | 0
Palisade Fence
3.9 | Supply and fix palisade fence; 2245mm high; comprising of robust vertical steel pales that are mounted on steel RSJ support posts (9 in Nos) which are cast into the floor (m.s) | 12 | M |  | 0
Gate and Emergency Door
3.1 | Supply and fix; Double-Leafs-sliding-gate; 2245mm high x 2400mm wide overall palisade gate comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
3.11 | Supply and fix; 2245mm high x 1000mm wide overall palisade door comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
4 | PAINTING
Prepare and apply to surfaces; two-coats of antirust, and spray three coats of gloss-oil-paint on;
4.1 | Palisade surfaces | 27 | M2 |  | 0
4.2 | Gate surfaces | 5 | M2 |  | 0
4.5 | Emergency-Door surfaces | 2 | M2 |  | 0
Prepare and apply; three-coats of weather-guard paints on;
4.6 | Plastered wall surfaces | 13 | M2 |  | 0
5 | POWER SUPPLY
5.1 | Electricity 3 Phase, supply and fix; armored cable (4mmx3core), about 20+14m in the ground, 7.5m up to electric-pole with necessary accessories; | 1 | Item |  | 0
5.2 | Supply and fix; Security Lights-250W; complete with 50mmΦ steel-poles; complete with necessary accessories; | 2 | Nr |  | 0
6 | WATER-NETWORK
6.1 | Supply and fix; appropriate 1-tap, piping, fittings for emergency water use when required from the source which is about 45m away in the ground; | 1 | Item |  | 0
6.2 | Provisional; allow for extending the existing fire-fighting system with Horse-reel-point about 20m away; | 1 | Sum |  | 0
| SUB-TOTAL |  |  |  | 0
| VAT-18% |  |  |  | 0
| TOTAL |  |  |  | 0
Amount in Words: ________________________________________________________________________
_______________________________________________________________________________________
Tenderer's Name: ________________________________________________________________________
Signature and Stamp: _____________________________________________________________________
Name and Signature of Authorized Person: ____________________________________________________
Date: __________________________________________________________________________________

## SEKOU TOURE
BILLS OF QUANTITIES [BOQs]
CIVIL WORKS - RFP/CHAI-TZ-EAPOA-002/25
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
PREAMBLES
A1 | The project will include six (6) main tasks namely; i) Reinforced concrete plinth to support the 6t-VIE-Tank; ii) Palisade fencing around three-sides of the plinth perimeter; iii) Solid-concrete-blocks wall on one side of the plinth perimeter and, Paving-blocks Apron around the plinth-perimeter; iv) Electrical installations that include 3-phase-power-sockets and, 2-security-lights fixed on steel-poles; v) Tap-water near oxygen-tank for de-icing of valves or to handle emergency situations; vi) Fire-fighting-system which is subject to tender-outcome
A2 | Engagement of Registered Building Contractor by Contractors Registration Board (CRB) in Class-Five and above is inavitable also, a specialist domestic Electrical Sub-contractor is necessary for appropriate sketch and implementation of power and security-lights
A3 | The VIE-Tank will be supplied and installed by other Vendor; but, she will also supply the Anchor-Bolts to be embedded in the reinforced concrete slab by you as per the Drawings;
A4 | Anchor-Bolts for Vaporizers will be supplied and fixed in reinforced concrete slab complete with washers by you;
A5 | The Fire-fighting-system allowance is provisional subject to the outcome of the tender;
A6 | The site is within the Sekou Toure Regional Referral Hospital, Mwanza City in Mwanza Region; about 100m off road to site entrance, located next to the Mother and Child Health Block;
PRELIMINARIES
B1 | By-Laws | 1 | Item |  | 0
B2 | Power for the works | 1 | Item |  | 0
B3 | Water for the works | 1 | Item |  | 0
B4 | Working-tools such as ladders and the like; | 1 | Item |  | 0
B5 | Transport for materials | 1 | Item |  | 0
B6 | Construction management | 1 | Item |  | 0
B7 | Mix-Design for Reinforced Concrete Grade-30 | 1 | Item |  | 0
B8 | Testing of Materials (sand; aggregates; reinforcements; water) and Components (concrete-cubes; solid-blocks/bricks) | 1 | Item |  | 0
B9 | Concrete-Mixer, Plate-compactor and the like; | 1 | Item |  | 0
B10 | Cleaning the site for commissioning; | 1 | Item |  | 0
B11 | Signage | 1 | Item |  | 0
B12 | Safety-gears | 1 | Item |  | 0
1 | DEMOLITIONS AND ALTERATIONS
1.1 | None | 1 | Item |  | 0
2 | EXCAVATION AND EARTHWORK
Site preparation
2.2 | Excavate Oversite average 300mm deep to remove vegetable soil load up wheel and cart away | 72 | M2 |  | 0
General excavation
Trenches excavation
2.3 | Excavate to reduce levels not exceeding 1.5m deep from stripped level | 95 | M3 |  | 0
Backfilling excavated materials
2.4 | Level and compact surface of excavation or filling in layers not exceeding 200mm thick | 32 | M3 |  | 0
Surplus excavated material
2.5 | load up and remove surplus excavated material to stockpile on/off site not exceeding 40km distance | 15 | M3 |  | 0
Imported Sand; deposited and compacted in layers granular fill compacted in 150mm layers to 95% maximum dry density (m.d.d)
2.6 | Around foundations | 10 | M3 |  | 0
2.7 | On top of hardcore | 18 | M3 |  | 0
Plunking and Strutting
2.8 | Allow for planking and strutting to sides of excavations | 1 | Item |  | 0
Disposal of Water
2.9 | Allow for keeping excavations free from mud and all water including spring and running water by pumbing pailing and other approved means | 1 | Item |  | 0
Murram blinding below hardcore surfaces
2.1 | 50mm thick layer murram or other equal and approved to the surface of trench | 35 | M2 |  | 0
Blinding; Grade 10 (nominal mix 1:3:6; 15N/mm2 at 28 days)
2.11 | 50mm thick to receive hardcore bed (m.s.) | 35 | M2 |  | 0
Hardcore Bed
2.12 | 300mm thick layer approved hardcore filling well watered, rolled and compacted in layers not exceeding 150mm thick under floors to level and slope as required | 29 | M2 |  | 0
Soil Sterilization
2.13 | TERMIDOR 25EC' or other equal and approved chemical anti-termitr treatment to top surfaces of sand-blinded hardcore | 29 | M2 |  | 0
Damp Proof Membrane (DPM)
2.14 | 1000 gauge polythene damp-proof sheeting laid on blinded smooth finished hardcore bed with 300mm side and end laps to receive conrete bed (m.s) | 29 | M2 |  | 0
In-situ Reinforced Concrete; Raft-Foundation; Grade 30
2.15 | 500mm thick floor slab | 26 | M2 |  | 0
2.16 | 150mm thick Ramp | 5 | M2 |  | 0
2.17 | Ground beam | 4 | M3 |  | 0
Reinforcement including bends, hooks, tying wires, distant blocks and ordinary spacers; Hot Rolled; High Yield Steel Bars BS 4449 - Assorted sizes as per the drawings; High Yield Strength 460MPa; Cutting and Bending as per BS 8666; to slabs and beams (Provisional)
2.18 | Y20 | 323 | Kg |  | 0
2.19 | Y16 | 323 | Kg |  | 0
2.2 | Y12 | 200 | Kg |  | 0
2.21 | Y10 | 11 | Kg |  | 0
Sawn Formwork; vertical or battering surfaces
2.22 | Edges of ground-beams | 12 | M2 |  | 0
Plinth Finishing
2.23 | 12mm thick cement sand mix (1:3) plastering; 3mm thick stucco or equal and approved surface well lied with steel trowelled finish on concrete surfaces | 12 | M2 |  | 0
2.24 | Prepare and apply three coats of black bituminous paint to rendered surfaces of plinths | 12 | M2 |  | 0
Floor Finish
2.25 | 32mm thick cement sand mix (1:3) screed well lied with steel-trowelled finish; | 31 | M2 |  | 0
Holding Down Anchor Bolts
2.26 | Tank to be anchored down using HILT-Chemical-Anchors (to be supplied and specified by tank manufacturer) to be appropriately embedded in the reinforced-concrete-slab; with minimum of 3-anchor-bolts in each-leg; | 1 | Item |  | 0
2.27 | Supply and fix metal-hollow-tubes footing to receive 40x40mm main members (m.s); embedded in reinforced concrete slab; 300mm deep | 9 | Nr |  | 0
2.28 | Supply and fix Anchor-bolts complete with washels to receive Vaporiser (to be supplied and specified by manufacturer) | 1 | Item |  | 0
Foundation Apron around plinth-perimeter
2.29 | 600x600x50mm; Concrete-Paving-Slabs around | 15 | M2 |  | 0
3 | FENCING (SOLID BLOCKWORK AND PELISADE)
3.1 | 230mm thick Solid cement-sand blocks with strength of 4.5MPa: bedded and jointed in cement/sand mortar(1:4): external | 13 | M2 |  | 0
3.2 | Plastering internal; 12mm thick mix 1:3) cement sand plaster; 3mm thick stucco or equal and approved to masonry-walling | 13 | M2 |  | 0
3.3 | 230x300mm In-situ reinforced concrete Beam Grade-30 including necessary shuttering | 1 | M3 |  | 0
Roofing (provisional)
3.4 | Supply and fabricate; welded and socketed; 50x50x4mm Mild-steel Angle Section Trusses; apply two coats of anti-rust-paint and; one finishing gloss-oil-paint; | 40 | M |  | 0
3.5 | Supply gauge 26 gauge IT5 Resincoated Alu-zink roof sheets including self-drilling screws and fix to metal purlins. | 12 | M2 |  | 0
3.6 | Supply and fix gauge 26 resincoated plain-sheets welded to Barge and Fascia | 17 | M |  | 0
3.7 | Prime quality softwood timber; Fascia Board | 6 | M |  | 0
3.8 | UPVC Gutter 6m long complete with clips and one down-pipe 2.3 high; | 1 | Item |  | 0
Palisade Fence
3.9 | Supply and fix palisade fence; 2245mm high; comprising of robust vertical steel pales that are mounted on steel RSJ support posts (9 in Nos) which are cast into the floor (m.s) | 12 | M |  | 0
Gate and Emergency Door
3.1 | Supply and fix; Double-Leafs-sliding-gate; 2245mm high x 2400mm wide overall palisade gate comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
3.11 | Supply and fix; 2245mm high x 1000mm wide overall palisade door comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
4 | PAINTING
Prepare and apply to surfaces; two-coats of antirust, and spray three coats of gloss-oil-paint on;
4.1 | Palisade surfaces | 27 | M2 |  | 0
4.2 | Gate surfaces | 5 | M2 |  | 0
4.5 | Emergency-Door surfaces | 2 | M2 |  | 0
Prepare and apply; three-coats of weather-guard paints on;
4.6 | Plastered wall surfaces | 13 | M2 |  | 0
5 | POWER SUPPLY
5.1 | Electricity 3 Phase, supply and fix; armored cable (4mmx3core), about 33m in the ground with necessary accessories; | 1 | Item |  | 0
5.2 | Supply and fix; Security Lights-250W; complete with 50mmΦ steel-poles; complete with necessary accessories; | 2 | Nr |  | 0
6 | WATER-NETWORK
6.1 | Supply and fix; appropriate 1-tap, piping, fittings for emergency water use when required from the source which is about 45m away in the ground; | 1 | Item |  | 0
6.2 | Provisional; allow for fire-fighting system; the source is within the site; complete with nececessary accessories; | 1 | Sum |  | 0
| SUB-TOTAL |  |  |  | 0
| VAT-18% |  |  |  | 0
| TOTAL |  |  |  | 0
Amount in Words: ________________________________________________________________________
_______________________________________________________________________________________
Tenderer's Name: ________________________________________________________________________
Signature and Stamp: _____________________________________________________________________
Name and Signature of Authorized Person: ____________________________________________________
Date: __________________________________________________________________________________

## MOUNT MERU
BILLS OF QUANTITIES [BOQs]
CIVIL WORKS - RFP/CHAI-TZ-EAPOA-002/25
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
PREAMBLES
A1 | The project will include six (6) main tasks namely; i) Reinforced concrete plinth to support the 6t-VIE-Tank; ii) Palisade fencing around three-sides of the plinth perimeter; iii) Solid-concrete-blocks wall on one side of the plinth perimeter and, Paving-blocks Apron around the plinth-perimeter; iv) Electrical installations that include 3-phase-power-sockets and, 2-security-lights fixed on steel-poles; v) Tap-water near oxygen-tank for de-icing of valves or to handle emergency situations; vi) Fire-fighting-system which is subject to tender-outcome
A2 | Engagement of Registered Building Contractor by Contractors Registration Board (CRB) in Class-Five and above is inavitable also, a specialist domestic Electrical Sub-contractor is necessary for appropriate sketch and implementation of power and security-lights
A3 | The VIE-Tank will be supplied and installed by other Vendor; but, she will also supply the Anchor-Bolts to be embedded in the reinforced concrete slab by you as per the Drawings;
A4 | Anchor-Bolts for Vaporizers will be supplied and fixed in reinforced concrete slab complete with washers by you;
A5 | The Fire-fighting-system allowance is provisional subject to the outcome of the tender;
A6 | The site is within the Mount Meru Regional Referral Hospital, Arusha City in Arusha Region; about 170m off main gate passing through parking area opposite to PSA-Plant;
PRELIMINARIES
B1 | By-Laws | 1 | Item |  | 0
B2 | Power for the works | 1 | Item |  | 0
B3 | Water for the works | 1 | Item |  | 0
B4 | Working-tools such as ladders and the like; | 1 | Item |  | 0
B5 | Transport for materials | 1 | Item |  | 0
B6 | Construction management | 1 | Item |  | 0
B7 | Mix-Design for Reinforced Concrete Grade-30 | 1 | Item |  | 0
B8 | Testing of Materials (sand; aggregates; reinforcements; water) and Components (concrete-cubes; solid-blocks/bricks) | 1 | Item |  | 0
B9 | Concrete-Mixer, Plate-compactor and the like; | 1 | Item |  | 0
B10 | Cleaning the site for commissioning; | 1 | Item |  | 0
B11 | Signage | 1 | Item |  | 0
B12 | Safety-gears | 1 | Item |  | 0
1 | DEMOLITIONS AND ALTERATIONS
1.1 | Cut branches of 1-big-tree they are big ten (10)-big-branches approximately 800mmΦ; also, one (1) tree not exceeding 300mmΦ; dispose debries away from hospital area | 1 | Item |  | 0
1.2 | Uproot the existing shrub-fencing-wall approximately 1.2x20m and dispose debries away form hospital area; | 1 | Item |  | 0
1.3 | Alterations of corrugated-roof-covering along the walkway crossing the access-road; remove the covers to re-use complete with roof-timbers, remove the power/communication cable & re-fix, extend the existing 4-black-pipes-50mmΦ by 1.2m to increase the headroom including anti-rust and oil paints; | 1 | Item |  | 0
2 | EXCAVATION AND EARTHWORK
Site preparation
2.2 | Excavate Oversite average 300mm deep to remove vegetable soil load up wheel and cart away | 72 | M2 |  | 0
General excavation
Trenches excavation
2.3 | Excavate to reduce levels not exceeding 1.5m deep from stripped level | 95 | M3 |  | 0
Backfilling excavated materials
2.4 | Level and compact surface of excavation or filling in layers not exceeding 200mm thick | 32 | M3 |  | 0
Surplus excavated material
2.5 | load up and remove surplus excavated material to stockpile on/off site not exceeding 40km distance | 15 | M3 |  | 0
Imported Sand; deposited and compacted in layers granular fill compacted in 150mm layers to 95% maximum dry density (m.d.d)
2.6 | Around foundations | 10 | M3 |  | 0
2.7 | On top of hardcore | 18 | M3 |  | 0
Plunking and Strutting
2.8 | Allow for planking and strutting to sides of excavations | 1 | Item |  | 0
Disposal of Water
2.9 | Allow for keeping excavations free from mud and all water including spring and running water by pumbing pailing and other approved means | 1 | Item |  | 0
Murram blinding below hardcore surfaces
2.1 | 50mm thick layer murram or other equal and approved to the surface of trench | 35 | M2 |  | 0
Blinding; Grade 10 (nominal mix 1:3:6; 15N/mm2 at 28 days)
2.11 | 50mm thick to receive hardcore bed (m.s.) | 35 | M2 |  | 0
Hardcore Bed
2.12 | 300mm thick layer approved hardcore filling well watered, rolled and compacted in layers not exceeding 150mm thick under floors to level and slope as required | 29 | M2 |  | 0
Soil Sterilization
2.13 | TERMIDOR 25EC' or other equal and approved chemical anti-termitr treatment to top surfaces of sand-blinded hardcore | 29 | M2 |  | 0
Damp Proof Membrane (DPM)
2.14 | 1000 gauge polythene damp-proof sheeting laid on blinded smooth finished hardcore bed with 300mm side and end laps to receive conrete bed (m.s) | 29 | M2 |  | 0
In-situ Reinforced Concrete; Raft-Foundation; Grade 30
2.15 | 500mm thick floor slab | 26 | M2 |  | 0
2.16 | 150mm thick Ramp | 5 | M2 |  | 0
2.17 | Ground beam | 4 | M3 |  | 0
Reinforcement including bends, hooks, tying wires, distant blocks and ordinary spacers; Hot Rolled; High Yield Steel Bars BS 4449 - Assorted sizes as per the drawings; High Yield Strength 460MPa; Cutting and Bending as per BS 8666; to slabs and beams (Provisional)
2.18 | Y20 | 323 | Kg |  | 0
2.19 | Y16 | 323 | Kg |  | 0
2.2 | Y12 | 200 | Kg |  | 0
2.21 | Y10 | 11 | Kg |  | 0
Sawn Formwork; vertical or battering surfaces
2.22 | Edges of ground-beams | 12 | M2 |  | 0
Plinth Finishing
2.23 | 12mm thick cement sand mix (1:3) plastering; 3mm thick stucco or equal and approved surface well lied with steel trowelled finish on concrete surfaces | 12 | M2 |  | 0
2.24 | Prepare and apply three coats of black bituminous paint to rendered surfaces of plinths | 12 | M2 |  | 0
Floor Finish
2.25 | 32mm thick cement sand mix (1:3) screed well lied with steel-trowelled finish; | 31 | M2 |  | 0
Holding Down Anchor Bolts
2.26 | Tank to be anchored down using HILT-Chemical-Anchors (to be supplied and specified by tank manufacturer) to be appropriately embedded in the reinforced-concrete-slab; with minimum of 3-anchor-bolts in each-leg; | 1 | Item |  | 0
2.27 | Supply and fix metal-hollow-tubes footing to receive 40x40mm main members (m.s); embedded in reinforced concrete slab; 300mm deep | 9 | Nr |  | 0
2.28 | Supply and fix Anchor-bolts complete with washels to receive Vaporiser (to be supplied and specified by manufacturer) | 1 | Item |  | 0
Foundation Apron around plinth-perimeter
2.29 | 600x600x50mm; Concrete-Paving-Slabs around | 15 | M2 |  | 0
3 | FENCING (SOLID BLOCKWORK AND PELISADE)
3.1 | 230mm thick Solid cement-sand blocks with strength of 4.5MPa: bedded and jointed in cement/sand mortar(1:4): external | 13 | M2 |  | 0
3.2 | Plastering internal; 12mm thick mix 1:3) cement sand plaster; 3mm thick stucco or equal and approved to masonry-walling | 13 | M2 |  | 0
3.3 | 230x300mm In-situ reinforced concrete Beam Grade-30 including necessary shuttering | 1 | M3 |  | 0
Roofing (provisional)
3.4 | Supply and fabricate; welded and socketed; 50x50x4mm Mild-steel Angle Section Trusses; apply two coats of anti-rust-paint and; one finishing gloss-oil-paint; | 40 | M |  | 0
3.5 | Supply gauge 26 gauge IT5 Resincoated Alu-zink roof sheets including self-drilling screws and fix to metal purlins. | 12 | M2 |  | 0
3.6 | Supply and fix gauge 26 resincoated plain-sheets welded to Barge and Fascia | 17 | M |  | 0
3.7 | Prime quality softwood timber; Fascia Board | 6 | M |  | 0
3.8 | UPVC Gutter 6m long complete with clips and one down-pipe 2.3 high; | 1 | Item |  | 0
Palisade Fence
3.9 | Supply and fix palisade fence; 2245mm high; comprising of robust vertical steel pales that are mounted on steel RSJ support posts (9 in Nos) which are cast into the floor (m.s) | 12 | M |  | 0
Gate and Emergency Door
3.1 | Supply and fix; Double-Leafs-sliding-gate; 2245mm high x 2400mm wide overall palisade gate comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
3.11 | Supply and fix; 2245mm high x 1000mm wide overall palisade door comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
4 | PAINTING
Prepare and apply to surfaces; two-coats of antirust, and spray three coats of gloss-oil-paint on;
4.1 | Palisade surfaces | 27 | M2 |  | 0
4.2 | Gate surfaces | 5 | M2 |  | 0
4.5 | Emergency-Door surfaces | 2 | M2 |  | 0
Prepare and apply; three-coats of weather-guard paints on;
4.6 | Plastered wall surfaces | 13 | M2 |  | 0
5 | POWER SUPPLY
5.1 | Electricity 3 Phase, supply and fix; armored cable (4mmx3core), about 30m in the ground/surface, with necessary accessories; | 1 | Item |  | 0
5.2 | Supply and fix; Security Lights-250W; complete with 50mmΦ steel-poles; complete with necessary accessories; | 2 | Nr |  | 0
6 | WATER-NETWORK
6.1 | Supply and fix; appropriate 1-tap, piping, fittings for emergency water use when required from the source which is about 5m away in the ground; | 1 | Item |  | 0
6.2 | Provisional; allow for fire-fighting system; probably 50mmΦ Galvanized-mildsteel pipes to BS 1387; complete with pump, horse-reel-pipe, 3000L-reserve-water-tank, pipe and nececessary accessories; | 1 | Sum |  | 0
| SUB-TOTAL |  |  |  | 0
| VAT-18% |  |  |  | 0
| TOTAL |  |  |  | 0
Amount in Words: ________________________________________________________________________
_______________________________________________________________________________________
Tenderer's Name: ________________________________________________________________________
Signature and Stamp: _____________________________________________________________________
Name and Signature of Authorized Person: ____________________________________________________
Date: __________________________________________________________________________________

## SAINT BENEDICT
BILLS OF QUANTITIES [BOQs]
CIVIL WORKS - RFP/CHAI-TZ-EAPOA-002/25
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
PREAMBLES
A1 | The project will include six (6) main tasks namely; i) Reinforced concrete plinth to support the 6t-VIE-Tank; ii) Palisade fencing around three-sides of the plinth perimeter; iii) Solid-concrete-blocks wall on one side of the plinth perimeter and, Paving-blocks Apron around the plinth-perimeter; iv) Electrical installations that include 3-phase-power-sockets and, 2-security-lights fixed on steel-poles; v) Tap-water near oxygen-tank for de-icing of valves or to handle emergency situations; vi) Fire-fighting-system which is subject to tender-outcome
A2 | Engagement of Registered Building Contractor by Contractors Registration Board (CRB) in Class-Five and above is inavitable also, a specialist domestic Electrical Sub-contractor is necessary for appropriate sketch and implementation of power and security-lights
A3 | The VIE-Tank will be supplied and installed by other Vendor; but, she will also supply the Anchor-Bolts to be embedded in the reinforced concrete slab by you as per the Drawings;
A4 | Anchor-Bolts for Vaporizers will be supplied and fixed in reinforced concrete slab complete with washers by you;
A5 | The Fire-fighting-system allowance is provisional subject to the outcome of the tender;
A6 | The site is within the Saint Benedict Ndanda Referral Hospital, Masasi District in Mtwara Region; about 250m off main gate / 30m off rear gate located adjacent to the PSA-Plant and; to frontage of Guest-wing;
PRELIMINARIES
B1 | By-Laws | 1 | Item |  | 0
B2 | Power for the works | 1 | Item |  | 0
B3 | Water for the works | 1 | Item |  | 0
B4 | Working-tools such as ladders and the like; | 1 | Item |  | 0
B5 | Transport for materials | 1 | Item |  | 0
B6 | Construction management | 1 | Item |  | 0
B7 | Mix-Design for Reinforced Concrete Grade-30 | 1 | Item |  | 0
B8 | Testing of Materials (sand; aggregates; reinforcements; water) and Components (concrete-cubes; solid-blocks/bricks) | 1 | Item |  | 0
B9 | Concrete-Mixer, Plate-compactor and the like; | 1 | Item |  | 0
B10 | Cleaning the site for commissioning; | 1 | Item |  | 0
B11 | Signage | 1 | Item |  | 0
B12 | Safety-gears | 1 | Item |  | 0
1 | DEMOLITIONS AND ALTERATIONS
1.1 | Inspect and repair the front/side drifts 7+7m long and make good for smooth flow-of-surface-water | 1 | Item |  | 0
2 | EXCAVATION AND EARTHWORK
Site preparation
2.2 | Excavate Oversite average 300mm deep to remove vegetable soil load up wheel and cart away | 72 | M2 |  | 0
General excavation
Trenches excavation
2.3 | Excavate to reduce levels not exceeding 1.5m deep from stripped level | 95 | M3 |  | 0
Backfilling excavated materials
2.4 | Level and compact surface of excavation or filling in layers not exceeding 200mm thick | 32 | M3 |  | 0
Surplus excavated material
2.5 | load up and remove surplus excavated material to stockpile on/off site not exceeding 40km distance | 15 | M3 |  | 0
Imported Sand; deposited and compacted in layers granular fill compacted in 150mm layers to 95% maximum dry density (m.d.d)
2.6 | Around foundations | 10 | M3 |  | 0
2.7 | On top of hardcore | 18 | M3 |  | 0
Plunking and Strutting
2.8 | Allow for planking and strutting to sides of excavations | 1 | Item |  | 0
Disposal of Water
2.9 | Allow for keeping excavations free from mud and all water including spring and running water by pumbing pailing and other approved means | 1 | Item |  | 0
Murram blinding below hardcore surfaces
2.1 | 50mm thick layer murram or other equal and approved to the surface of trench | 35 | M2 |  | 0
Blinding; Grade 10 (nominal mix 1:3:6; 15N/mm2 at 28 days)
2.11 | 50mm thick to receive hardcore bed (m.s.) | 35 | M2 |  | 0
Hardcore Bed
2.12 | 300mm thick layer approved hardcore filling well watered, rolled and compacted in layers not exceeding 150mm thick under floors to level and slope as required | 29 | M2 |  | 0
Soil Sterilization
2.13 | TERMIDOR 25EC' or other equal and approved chemical anti-termitr treatment to top surfaces of sand-blinded hardcore | 29 | M2 |  | 0
Damp Proof Membrane (DPM)
2.14 | 1000 gauge polythene damp-proof sheeting laid on blinded smooth finished hardcore bed with 300mm side and end laps to receive conrete bed (m.s) | 29 | M2 |  | 0
In-situ Reinforced Concrete; Raft-Foundation; Grade 30
2.15 | 500mm thick floor slab | 26 | M2 |  | 0
2.16 | 150mm thick Ramp | 5 | M2 |  | 0
2.17 | Ground beam | 4 | M3 |  | 0
Reinforcement including bends, hooks, tying wires, distant blocks and ordinary spacers; Hot Rolled; High Yield Steel Bars BS 4449 - Assorted sizes as per the drawings; High Yield Strength 460MPa; Cutting and Bending as per BS 8666; to slabs and beams (Provisional)
2.18 | Y20 | 323 | Kg |  | 0
2.19 | Y16 | 323 | Kg |  | 0
2.2 | Y12 | 200 | Kg |  | 0
2.21 | Y10 | 11 | Kg |  | 0
Sawn Formwork; vertical or battering surfaces
2.22 | Edges of ground-beams | 12 | M2 |  | 0
Plinth Finishing
2.23 | 12mm thick cement sand mix (1:3) plastering; 3mm thick stucco or equal and approved surface well lied with steel trowelled finish on concrete surfaces | 12 | M2 |  | 0
2.24 | Prepare and apply three coats of black bituminous paint to rendered surfaces of plinths | 12 | M2 |  | 0
Floor Finish
2.25 | 32mm thick cement sand mix (1:3) screed well lied with steel-trowelled finish; | 11 | M2 |  | 0
Holding Down Anchor Bolts
2.26 | Tank to be anchored down using HILT-Chemical-Anchors (to be supplied and specified by tank manufacturer) to be appropriately embedded in the reinforced-concrete-slab; with minimum of 3-anchor-bolts in each-leg; | 1 | Item |  | 0
2.27 | Supply and fix metal-hollow-tubes footing to receive 40x40mm main members (m.s); embedded in reinforced concrete slab; 300mm deep | 9 | Nr |  | 0
2.28 | Supply and fix Anchor-bolts complete with washels to receive Vaporiser (to be supplied and specified by manufacturer) | 1 | Item |  | 0
Foundation Apron around plinth-perimeter
2.29 | 600x600x50mm; Concrete-Paving-Slabs around | 15 | M2 |  | 0
3 | FENCING (SOLID BLOCKWORK AND PELISADE)
3.1 | 230mm thick Solid cement-sand blocks with strength of 4.5MPa: bedded and jointed in cement/sand mortar(1:4): external | 13 | M2 |  | 0
3.2 | Plastering internal; 12mm thick mix 1:3) cement sand plaster; 3mm thick stucco or equal and approved to masonry-walling | 13 | M2 |  | 0
3.3 | 230x300mm In-situ reinforced concrete Beam Grade-30 including necessary shuttering | 1 | M3 |  | 0
Roofing (provisional)
3.4 | Supply and fabricate; welded and socketed; 50x50x4mm Mild-steel Angle Section Trusses; apply two coats of anti-rust-paint and; one finishing gloss-oil-paint; | 40 | M |  | 0
3.5 | Supply gauge 26 gauge IT5 Resincoated Alu-zink roof sheets including self-drilling screws and fix to metal purlins. | 12 | M2 |  | 0
3.6 | Supply and fix gauge 26 resincoated plain-sheets welded to Barge and Fascia | 17 | M |  | 0
3.7 | Prime quality softwood timber; Fascia Board | 6 | M |  | 0
3.8 | UPVC Gutter 6m long complete with clips and one down-pipe 2.3 high; | 1 | Item |  | 0
Palisade Fence
3.9 | Supply and fix palisade fence; 2245mm high; comprising of robust vertical steel pales that are mounted on steel RSJ support posts (9 in Nos) which are cast into the floor (m.s) | 12 | M |  | 0
Gate and Emergency Door
3.1 | Supply and fix; Double-Leafs-sliding-gate; 2245mm high x 2400mm wide overall palisade gate comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
3.11 | Supply and fix; 2245mm high x 1000mm wide overall palisade door comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
4 | PAINTING
Prepare and apply to surfaces; two-coats of antirust, and spray three coats of gloss-oil-paint on;
4.1 | Palisade surfaces | 27 | M2 |  | 0
4.2 | Gate surfaces | 5 | M2 |  | 0
4.5 | Emergency-Door surfaces | 2 | M2 |  | 0
Prepare and apply; three-coats of weather-guard paints on;
4.6 | Plastered wall surfaces | 13 | M2 |  | 0
5 | POWER SUPPLY
5.1 | Electricity 3 Phase, supply and fix; armored cable (4mmx3core), about 21.3m in the ground/surface, with necessary accessories; | 1 | Item |  | 0
5.2 | Supply and fix; Security Lights-250W; complete with 50mmΦ steel-poles; complete with necessary accessories; | 2 | Nr |  | 0
6 | WATER-NETWORK
6.1 | Supply and fix; appropriate 1-tap, piping, fittings for emergency water use when required from the source which is about 26m away in the ground; | 1 | Item |  | 0
6.2 | Provisional; allow for extending the existing fire-fighting system with Horse-reel-point about 80m away; | 1 | Sum |  | 0
| SUB-TOTAL |  |  |  | 0
| VAT-18% |  |  |  | 0
| TOTAL |  |  |  | 0
Amount in Words: ________________________________________________________________________
_______________________________________________________________________________________
Tenderer's Name: ________________________________________________________________________
Signature and Stamp: _____________________________________________________________________
Name and Signature of Authorized Person: ____________________________________________________
Date: __________________________________________________________________________________

## SONGEA
BILLS OF QUANTITIES [BOQs]
CIVIL WORKS - RFP/CHAI-TZ-EAPOA-002/25
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
PREAMBLES
A1 | The project will include six (6) main tasks namely; i) Reinforced concrete plinth to support the 6t-VIE-Tank; ii) Palisade fencing around three-sides of the plinth perimeter; iii) Solid-concrete-blocks wall on one side of the plinth perimeter and, Paving-blocks Apron around the plinth-perimeter; iv) Electrical installations that include 3-phase-power-sockets and, 2-security-lights fixed on steel-poles; v) Tap-water near oxygen-tank for de-icing of valves or to handle emergency situations; vi) Fire-fighting-system which is subject to tender-outcome
A2 | Engagement of Registered Building Contractor by Contractors Registration Board (CRB) in Class-Five and above is inavitable also, a specialist domestic Electrical Sub-contractor is necessary for appropriate sketch and implementation of power and security-lights
A3 | The VIE-Tank will be supplied and installed by other Vendor; but, she will also supply the Anchor-Bolts to be embedded in the reinforced concrete slab by you as per the Drawings;
A4 | Anchor-Bolts for Vaporizers will be supplied and fixed in reinforced concrete slab complete with washers by you;
A5 | The Fire-fighting-system allowance is provisional subject to the outcome of the tender;
A6 | The site is within the Songea Regional Referral Hospital, Songea Municipality in Ruvuma Region; about 250m off rear gate passing through incinerator, laundry and oxygen-cylinder-store located adjacent to the PSA-Plant;
PRELIMINARIES
B1 | By-Laws | 1 | Item |  | 0
B2 | Power for the works | 1 | Item |  | 0
B3 | Water for the works | 1 | Item |  | 0
B4 | Working-tools such as ladders and the like; | 1 | Item |  | 0
B5 | Transport for materials | 1 | Item |  | 0
B6 | Construction management | 1 | Item |  | 0
B7 | Mix-Design for Reinforced Concrete Grade-30 | 1 | Item |  | 0
B8 | Testing of Materials (sand; aggregates; reinforcements; water) and Components (concrete-cubes; solid-blocks/bricks) | 1 | Item |  | 0
B9 | Concrete-Mixer, Plate-compactor and the like; | 1 | Item |  | 0
B10 | Cleaning the site for commissioning; | 1 | Item |  | 0
B11 | Signage | 1 | Item |  | 0
B12 | Safety-gears | 1 | Item |  | 0
1 | DEMOLITIONS AND ALTERATIONS
1.1 | Sand fiiling approximately 25.2M3 to part of the site area to make up levels; | 1 | Item |  | 0
2 | EXCAVATION AND EARTHWORK
Site preparation
2.2 | Excavate Oversite average 300mm deep to remove vegetable soil load up wheel and cart away | 72 | M2 |  | 0
General excavation
Trenches excavation
2.3 | Excavate to reduce levels not exceeding 1.5m deep from stripped level | 95 | M3 |  | 0
Backfilling excavated materials
2.4 | Level and compact surface of excavation or filling in layers not exceeding 200mm thick | 32 | M3 |  | 0
Surplus excavated material
2.5 | load up and remove surplus excavated material to stockpile on/off site not exceeding 40km distance | 15 | M3 |  | 0
Imported Sand; deposited and compacted in layers granular fill compacted in 150mm layers to 95% maximum dry density (m.d.d)
2.6 | Around foundations | 10 | M3 |  | 0
2.7 | On top of hardcore | 18 | M3 |  | 0
Plunking and Strutting
2.8 | Allow for planking and strutting to sides of excavations | 1 | Item |  | 0
Disposal of Water
2.9 | Allow for keeping excavations free from mud and all water including spring and running water by pumbing pailing and other approved means | 1 | Item |  | 0
Murram blinding below hardcore surfaces
2.1 | 50mm thick layer murram or other equal and approved to the surface of trench | 35 | M2 |  | 0
Blinding; Grade 10 (nominal mix 1:3:6; 15N/mm2 at 28 days)
2.11 | 50mm thick to receive hardcore bed (m.s.) | 35 | M2 |  | 0
Hardcore Bed
2.12 | 300mm thick layer approved hardcore filling well watered, rolled and compacted in layers not exceeding 150mm thick under floors to level and slope as required | 29 | M2 |  | 0
Soil Sterilization
2.13 | TERMIDOR 25EC' or other equal and approved chemical anti-termitr treatment to top surfaces of sand-blinded hardcore | 29 | M2 |  | 0
Damp Proof Membrane (DPM)
2.14 | 1000 gauge polythene damp-proof sheeting laid on blinded smooth finished hardcore bed with 300mm side and end laps to receive conrete bed (m.s) | 29 | M2 |  | 0
In-situ Reinforced Concrete; Raft-Foundation; Grade 30
2.15 | 500mm thick floor slab | 26 | M2 |  | 0
2.16 | 150mm thick Ramp | 5 | M2 |  | 0
2.17 | Ground beam | 4 | M3 |  | 0
Reinforcement including bends, hooks, tying wires, distant blocks and ordinary spacers; Hot Rolled; High Yield Steel Bars BS 4449 - Assorted sizes as per the drawings; High Yield Strength 460MPa; Cutting and Bending as per BS 8666; to slabs and beams (Provisional)
2.18 | Y20 | 323 | Kg |  | 0
2.19 | Y16 | 323 | Kg |  | 0
2.2 | Y12 | 200 | Kg |  | 0
2.21 | Y10 | 11 | Kg |  | 0
Sawn Formwork; vertical or battering surfaces
2.22 | Edges of ground-beams | 12 | M2 |  | 0
Plinth Finishing
2.23 | 12mm thick cement sand mix (1:3) plastering; 3mm thick stucco or equal and approved surface well lied with steel trowelled finish on concrete surfaces | 12 | M2 |  | 0
2.24 | Prepare and apply three coats of black bituminous paint to rendered surfaces of plinths | 12 | M2 |  | 0
Floor Finish
2.25 | 32mm thick cement sand mix (1:3) screed well lied with steel-trowelled finish; | 31 | M2 |  | 0
Holding Down Anchor Bolts
2.26 | Tank to be anchored down using HILT-Chemical-Anchors (to be supplied and specified by tank manufacturer) to be appropriately embedded in the reinforced-concrete-slab; with minimum of 3-anchor-bolts in each-leg; | 1 | Item |  | 0
2.27 | Supply and fix metal-hollow-tubes footing to receive 40x40mm main members (m.s); embedded in reinforced concrete slab; 300mm deep | 9 | Nr |  | 0
2.28 | Supply and fix Anchor-bolts complete with washels to receive Vaporiser (to be supplied and specified by manufacturer) | 1 | Item |  | 0
Foundation Apron around plinth-perimeter
2.29 | 600x600x50mm; Concrete-Paving-Slabs around | 15 | M2 |  | 0
3 | FENCING (SOLID BLOCKWORK AND PELISADE)
3.1 | 230mm thick Solid cement-sand blocks with strength of 4.5MPa: bedded and jointed in cement/sand mortar(1:4): external | 13 | M2 |  | 0
3.2 | Plastering internal; 12mm thick mix 1:3) cement sand plaster; 3mm thick stucco or equal and approved to masonry-walling | 13 | M2 |  | 0
3.3 | 230x300mm In-situ reinforced concrete Beam Grade-30 including necessary shuttering | 1 | M3 |  | 0
Roofing (provisional)
3.4 | Supply and fabricate; welded and socketed; 50x50x4mm Mild-steel Angle Section Trusses; apply two coats of anti-rust-paint and; one finishing gloss-oil-paint; | 40 | M |  | 0
3.5 | Supply gauge 26 gauge IT5 Resincoated Alu-zink roof sheets including self-drilling screws and fix to metal purlins. | 12 | M2 |  | 0
3.6 | Supply and fix gauge 26 resincoated plain-sheets welded to Barge and Fascia | 17 | M |  | 0
3.7 | Prime quality softwood timber; Fascia Board | 6 | M |  | 0
3.8 | UPVC Gutter 6m long complete with clips and one down-pipe 2.3 high; | 1 | Item |  | 0
Palisade Fence
3.9 | Supply and fix palisade fence; 2245mm high; comprising of robust vertical steel pales that are mounted on steel RSJ support posts (9 in Nos) which are cast into the floor (m.s) | 12 | M |  | 0
Gate and Emergency Door
3.1 | Supply and fix; Double-Leafs-sliding-gate; 2245mm high x 2400mm wide overall palisade gate comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
3.11 | Supply and fix; 2245mm high x 1000mm wide overall palisade door comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
4 | PAINTING
Prepare and apply to surfaces; two-coats of antirust, and spray three coats of gloss-oil-paint on;
4.1 | Palisade surfaces | 27 | M2 |  | 0
4.2 | Gate surfaces | 5 | M2 |  | 0
4.5 | Emergency-Door surfaces | 2 | M2 |  | 0
Prepare and apply; three-coats of weather-guard paints on;
4.6 | Plastered wall surfaces | 13 | M2 |  | 0
5 | POWER SUPPLY
5.1 | Electricity 3 Phase, supply and fix; armored cable (4mmx3core), about 20+2+2m in the ground/surface, with necessary accessories; | 1 | Item |  | 0
5.2 | Supply and fix; Security Lights-250W; complete with 50mmΦ steel-poles; complete with necessary accessories; | 2 | Nr |  | 0
6 | WATER-NETWORK
6.1 | Supply and fix; appropriate 1-tap, piping, fittings for emergency water use when required from the source which is about 4m away in the ground; | 1 | Item |  | 0
6.2 | Provisional; allow for fire-fighting system; probably 50mmΦ Galvanized-mildsteel pipes to BS 1387; complete with pump, horse-reel-pipe, 3000L-reserve-water-tank, pipe and nececessary accessories; | 1 | Sum |  | 0
| SUB-TOTAL |  |  |  | 0
| VAT-18% |  |  |  | 0
| TOTAL |  |  |  | 0
Amount in Words: ________________________________________________________________________
_______________________________________________________________________________________
Tenderer's Name: ________________________________________________________________________
Signature and Stamp: _____________________________________________________________________
Name and Signature of Authorized Person: ____________________________________________________
Date: __________________________________________________________________________________

## MANYARA
BILLS OF QUANTITIES [BOQs]
CIVIL WORKS - RFP/CHAI-TZ-EAPOA-002/25
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
PREAMBLES
A1 | The project will include six (6) main tasks namely; i) Reinforced concrete plinth to support the 6t-VIE-Tank; ii) Palisade fencing around three-sides of the plinth perimeter; iii) Solid-concrete-blocks wall on one side of the plinth perimeter and, Paving-blocks Apron around the plinth-perimeter; iv) Electrical installations that include 3-phase-power-sockets and, 2-security-lights fixed on steel-poles; v) Tap-water near oxygen-tank for de-icing of valves or to handle emergency situations; vi) Fire-fighting-system which is subject to tender-outcome
A2 | Engagement of Registered Building Contractor by Contractors Registration Board (CRB) in Class-Five and above is inavitable also, a specialist domestic Electrical Sub-contractor is necessary for appropriate sketch and implementation of power and security-lights
A3 | The VIE-Tank will be supplied and installed by other Vendor; but, she will also supply the Anchor-Bolts to be embedded in the reinforced concrete slab by you as per the Drawings;
A4 | Anchor-Bolts for Vaporizers will be supplied and fixed in reinforced concrete slab complete with washers by you;
A5 | The Fire-fighting-system allowance is provisional subject to the outcome of the tender;
A6 | The site is within the Manyara Regional Referral Hospital, Babati Municipality in Manyara Region; about 100m off main gate passing through parking area adjacent to PSA-Plant;
PRELIMINARIES
B1 | By-Laws | 1 | Item |  | 0
B2 | Power for the works | 1 | Item |  | 0
B3 | Water for the works | 1 | Item |  | 0
B4 | Working-tools such as ladders and the like; | 1 | Item |  | 0
B5 | Transport for materials | 1 | Item |  | 0
B6 | Construction management | 1 | Item |  | 0
B7 | Mix-Design for Reinforced Concrete Grade-30 | 1 | Item |  | 0
B8 | Testing of Materials (sand; aggregates; reinforcements; water) and Components (concrete-cubes; solid-blocks/bricks) | 1 | Item |  | 0
B9 | Concrete-Mixer, Plate-compactor and the like; | 1 | Item |  | 0
B10 | Cleaning the site for commissioning; | 1 | Item |  | 0
B11 | Signage | 1 | Item |  | 0
B12 | Safety-gears | 1 | Item |  | 0
1 | DEMOLITIONS AND ALTERATIONS
1.1 | Cut two (2) small flower-trees less than 50mmΦ, shrubs and flowers; dispose debries away from site | 1 | Item |  | 0
1.2 | Remove the manmade-hill covered with jointed-stones by mortar approximately 4.0mΦ by 2m-high; dispose debries away from site | 1 | Item |  | 0
2 | EXCAVATION AND EARTHWORK
Site preparation
2.2 | Excavate Oversite average 300mm deep to remove vegetable soil load up wheel and cart away | 72 | M2 |  | 0
General excavation
Trenches excavation
2.3 | Excavate to reduce levels not exceeding 1.5m deep from stripped level | 95 | M3 |  | 0
Backfilling excavated materials
2.4 | Level and compact surface of excavation or filling in layers not exceeding 200mm thick | 32 | M3 |  | 0
Surplus excavated material
2.5 | load up and remove surplus excavated material to stockpile on/off site not exceeding 40km distance | 15 | M3 |  | 0
Imported Sand; deposited and compacted in layers granular fill compacted in 150mm layers to 95% maximum dry density (m.d.d)
2.6 | Around foundations | 10 | M3 |  | 0
2.7 | On top of hardcore | 18 | M3 |  | 0
Plunking and Strutting
2.8 | Allow for planking and strutting to sides of excavations | 1 | Item |  | 0
Disposal of Water
2.9 | Allow for keeping excavations free from mud and all water including spring and running water by pumbing pailing and other approved means | 1 | Item |  | 0
Murram blinding below hardcore surfaces
2.1 | 50mm thick layer murram or other equal and approved to the surface of trench | 35 | M2 |  | 0
Blinding; Grade 10 (nominal mix 1:3:6; 15N/mm2 at 28 days)
2.11 | 50mm thick to receive hardcore bed (m.s.) | 35 | M2 |  | 0
Hardcore Bed
2.12 | 300mm thick layer approved hardcore filling well watered, rolled and compacted in layers not exceeding 150mm thick under floors to level and slope as required | 29 | M2 |  | 0
Soil Sterilization
2.13 | TERMIDOR 25EC' or other equal and approved chemical anti-termitr treatment to top surfaces of sand-blinded hardcore | 29 | M2 |  | 0
Damp Proof Membrane (DPM)
2.14 | 1000 gauge polythene damp-proof sheeting laid on blinded smooth finished hardcore bed with 300mm side and end laps to receive conrete bed (m.s) | 29 | M2 |  | 0
In-situ Reinforced Concrete; Raft-Foundation; Grade 30
2.15 | 500mm thick floor slab | 26 | M2 |  | 0
2.16 | 150mm thick Ramp | 5 | M2 |  | 0
2.17 | Ground beam | 4 | M3 |  | 0
Reinforcement including bends, hooks, tying wires, distant blocks and ordinary spacers; Hot Rolled; High Yield Steel Bars BS 4449 - Assorted sizes as per the drawings; High Yield Strength 460MPa; Cutting and Bending as per BS 8666; to slabs and beams (Provisional)
2.18 | Y20 | 323 | Kg |  | 0
2.19 | Y16 | 323 | Kg |  | 0
2.2 | Y12 | 200 | Kg |  | 0
2.21 | Y10 | 11 | Kg |  | 0
Sawn Formwork; vertical or battering surfaces
2.22 | Edges of ground-beams | 12 | M2 |  | 0
Plinth Finishing
2.23 | 12mm thick cement sand mix (1:3) plastering; 3mm thick stucco or equal and approved surface well lied with steel trowelled finish on concrete surfaces | 12 | M2 |  | 0
2.24 | Prepare and apply three coats of black bituminous paint to rendered surfaces of plinths | 12 | M2 |  | 0
Floor Finish
2.25 | 32mm thick cement sand mix (1:3) screed well lied with steel-trowelled finish; | 31 | M2 |  | 0
Holding Down Anchor Bolts
2.26 | Tank to be anchored down using HILT-Chemical-Anchors (to be supplied and specified by tank manufacturer) to be appropriately embedded in the reinforced-concrete-slab; with minimum of 3-anchor-bolts in each-leg; | 1 | Item |  | 0
2.27 | Supply and fix metal-hollow-tubes footing to receive 40x40mm main members (m.s); embedded in reinforced concrete slab; 300mm deep | 9 | Nr |  | 0
2.28 | Supply and fix Anchor-bolts complete with washels to receive Vaporiser (to be supplied and specified by manufacturer) | 1 | Item |  | 0
Foundation Apron around plinth-perimeter
2.29 | 600x600x50mm; Concrete-Paving-Slabs around | 15 | M2 |  | 0
3 | FENCING (SOLID BLOCKWORK AND PELISADE)
3.1 | 230mm thick Solid cement-sand blocks with strength of 4.5MPa: bedded and jointed in cement/sand mortar(1:4): external | 13 | M2 |  | 0
3.2 | Plastering internal; 12mm thick mix 1:3) cement sand plaster; 3mm thick stucco or equal and approved to masonry-walling | 13 | M2 |  | 0
3.3 | 230x300mm In-situ reinforced concrete Beam Grade-30 including necessary shuttering | 1 | M3 |  | 0
Roofing (provisional)
3.4 | Supply and fabricate; welded and socketed; 50x50x4mm Mild-steel Angle Section Trusses; apply two coats of anti-rust-paint and; one finishing gloss-oil-paint; | 40 | M |  | 0
3.5 | Supply gauge 26 gauge IT5 Resincoated Alu-zink roof sheets including self-drilling screws and fix to metal purlins. | 12 | M2 |  | 0
3.6 | Supply and fix gauge 26 resincoated plain-sheets welded to Barge and Fascia | 17 | M |  | 0
3.7 | Prime quality softwood timber; Fascia Board | 6 | M |  | 0
3.8 | UPVC Gutter 6m long complete with clips and one down-pipe 2.3 high; | 1 | Item |  | 0
Palisade Fence
3.9 | Supply and fix palisade fence; 2245mm high; comprising of robust vertical steel pales that are mounted on steel RSJ support posts (9 in Nos) which are cast into the floor (m.s) | 12 | M |  | 0
Gate and Emergency Door
3.1 | Supply and fix; Double-Leafs-sliding gate; 2245mm high x 2400mm wide overall palisade gate comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
3.11 | Supply and fix; 2245mm high x 1000mm wide overall palisade door comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
4 | PAINTING
Prepare and apply to surfaces; two-coats of antirust, and spray three coats of gloss-oil-paint on;
4.1 | Palisade surfaces | 27 | M2 |  | 0
4.2 | Gate surfaces | 5 | M2 |  | 0
4.5 | Emergency-Door surfaces | 2 | M2 |  | 0
Prepare and apply; three-coats of weather-guard paints on;
4.6 | Plastered wall surfaces | 13 | M2 |  | 0
5 | POWER SUPPLY
5.1 | Electricity 3 Phase, supply and fix; armored cable (4mmx3core), about 33m in the ground/surface, with necessary accessories; | 1 | Item |  | 0
5.2 | Supply and fix; Security Lights-250W; complete with 50mmΦ steel-poles; complete with necessary accessories; | 2 | Nr |  | 0
6 | WATER-NETWORK
6.1 | Supply and fix; appropriate 1-tap, piping, fittings for emergency water use when required from the source which is about 2m away in the ground; | 1 | Item |  | 0
6.2 | Provisional; allow for fire-fighting system; probably 50mmΦ Galvanized-mildsteel pipes to BS 1387; complete with pump, horse-reel-pipe, 3000L-reserve-water-tank, pipe and nececessary accessories; | 1 | Sum |  | 0
| SUB-TOTAL |  |  |  | 0
| VAT-18% |  |  |  | 0
| TOTAL |  |  |  | 0
Amount in Words: ________________________________________________________________________
_______________________________________________________________________________________
Tenderer's Name: ________________________________________________________________________
Signature and Stamp: _____________________________________________________________________
Name and Signature of Authorized Person: ____________________________________________________
Date: __________________________________________________________________________________

## DODOMA
BILLS OF QUANTITIES [BOQs]
CIVIL WORKS - RFP/CHAI-TZ-EAPOA-002/25
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
PREAMBLES
A1 | The project will include six (6) main tasks namely; i) Reinforced concrete plinth to support the 6t-VIE-Tank; ii) Palisade fencing around three-sides of the plinth perimeter; iii) Solid-concrete-blocks wall on one side of the plinth perimeter and, Paving-blocks Apron around the plinth-perimeter; iv) Electrical installations that include 3-phase-power-sockets and, 2-security-lights fixed on steel-poles; v) Tap-water near oxygen-tank for de-icing of valves or to handle emergency situations; vi) Fire-fighting-system which is subject to tender-outcome
A2 | Engagement of Registered Building Contractor by Contractors Registration Board (CRB) in Class-Five and above is inavitable also, a specialist domestic Electrical Sub-contractor is necessary for appropriate sketch and implementation of power and security-lights
A3 | The VIE-Tank will be supplied and installed by other Vendor; but, she will also supply the Anchor-Bolts to be embedded in the reinforced concrete slab by you as per the Drawings;
A4 | Anchor-Bolts for Vaporizers will be supplied and fixed in reinforced concrete slab complete with washers by you;
A5 | The Fire-fighting-system allowance is provisional subject to the outcome of the tender;
A6 | The site is within the Dodoma Regional Referral Hospital, Dodoma-City in Dodoma Region; about 200m off access gate passing maternity and vacination center located adjacent to Mortuary/generator house;
PRELIMINARIES
B1 | By-Laws | 1 | Item |  | 0
B2 | Power for the works | 1 | Item |  | 0
B3 | Water for the works | 1 | Item |  | 0
B4 | Working-tools such as ladders and the like; | 1 | Item |  | 0
B5 | Transport for materials | 1 | Item |  | 0
B6 | Construction management | 1 | Item |  | 0
B7 | Mix-Design for Reinforced Concrete Grade-30 | 1 | Item |  | 0
B8 | Testing of Materials (sand; aggregates; reinforcements; water) and Components (concrete-cubes; solid-blocks/bricks) | 1 | Item |  | 0
B9 | Concrete-Mixer, Plate-compactor and the like; | 1 | Item |  | 0
B10 | Cleaning the site for commissioning; | 1 | Item |  | 0
B11 | Signage | 1 | Item |  | 0
B12 | Safety-gears | 1 | Item |  | 0
1 | DEMOLITIONS AND ALTERATIONS
1.1 | Relocate the existing electric cables three (3) in number (2-armored-cables; 6/4mm-cables in conduits) in the ground; | 1 | Item |  | 0
2 | EXCAVATION AND EARTHWORK
Site preparation
2.2 | Excavate Oversite average 300mm deep to remove vegetable soil load up wheel and cart away | 72 | M2 |  | 0
General excavation
Trenches excavation
2.3 | Excavate to reduce levels not exceeding 1.5m deep from stripped level | 95 | M3 |  | 0
Backfilling excavated materials
2.4 | Level and compact surface of excavation or filling in layers not exceeding 200mm thick | 32 | M3 |  | 0
Surplus excavated material
2.5 | load up and remove surplus excavated material to stockpile on/off site not exceeding 40km distance | 15 | M3 |  | 0
Imported Sand; deposited and compacted in layers granular fill compacted in 150mm layers to 95% maximum dry density (m.d.d)
2.6 | Around foundations | 10 | M3 |  | 0
2.7 | On top of hardcore | 18 | M3 |  | 0
Plunking and Strutting
2.8 | Allow for planking and strutting to sides of excavations | 1 | Item |  | 0
Disposal of Water
2.9 | Allow for keeping excavations free from mud and all water including spring and running water by pumbing pailing and other approved means | 1 | Item |  | 0
Murram blinding below hardcore surfaces
2.1 | 50mm thick layer murram or other equal and approved to the surface of trench | 35 | M2 |  | 0
Blinding; Grade 10 (nominal mix 1:3:6; 15N/mm2 at 28 days)
2.11 | 50mm thick to receive hardcore bed (m.s.) | 35 | M2 |  | 0
Hardcore Bed
2.12 | 300mm thick layer approved hardcore filling well watered, rolled and compacted in layers not exceeding 150mm thick under floors to level and slope as required | 29 | M2 |  | 0
Soil Sterilization
2.13 | TERMIDOR 25EC' or other equal and approved chemical anti-termitr treatment to top surfaces of sand-blinded hardcore | 29 | M2 |  | 0
Damp Proof Membrane (DPM)
2.14 | 1000 gauge polythene damp-proof sheeting laid on blinded smooth finished hardcore bed with 300mm side and end laps to receive conrete bed (m.s) | 29 | M2 |  | 0
In-situ Reinforced Concrete; Raft-Foundation; Grade 30
2.15 | 500mm thick floor slab | 26 | M2 |  | 0
2.16 | 150mm thick Ramp | 5 | M2 |  | 0
2.17 | Ground beam | 4 | M3 |  | 0
Reinforcement including bends, hooks, tying wires, distant blocks and ordinary spacers; Hot Rolled; High Yield Steel Bars BS 4449 - Assorted sizes as per the drawings; High Yield Strength 460MPa; Cutting and Bending as per BS 8666; to slabs and beams (Provisional)
2.18 | Y20 | 323 | Kg |  | 0
2.19 | Y16 | 323 | Kg |  | 0
2.2 | Y12 | 200 | Kg |  | 0
2.21 | Y10 | 11 | Kg |  | 0
Sawn Formwork; vertical or battering surfaces
2.22 | Edges of ground-beams | 12 | M2 |  | 0
Plinth Finishing
2.23 | 12mm thick cement sand mix (1:3) plastering; 3mm thick stucco or equal and approved surface well lied with steel trowelled finish on concrete surfaces | 12 | M2 |  | 0
2.24 | Prepare and apply three coats of black bituminous paint to rendered surfaces of plinths | 12 | M2 |  | 0
Floor Finish
2.25 | 32mm thick cement sand mix (1:3) screed well lied with steel-trowelled finish; | 31 | M2 |  | 0
Holding Down Anchor Bolts
2.26 | Tank to be anchored down using HILT-Chemical-Anchors (to be supplied and specified by tank manufacturer) to be appropriately embedded in the reinforced-concrete-slab; with minimum of 3-anchor-bolts in each-leg; | 1 | Item |  | 0
2.27 | Supply and fix metal-hollow-tubes footing to receive 40x40mm main members (m.s); embedded in reinforced concrete slab; 300mm deep | 9 | Nr |  | 0
2.28 | Supply and fix Anchor-bolts complete with washels to receive Vaporiser (to be supplied and specified by manufacturer) | 1 | Item |  | 0
Foundation Apron around plinth-perimeter
2.29 | 600x600x50mm; Concrete-Paving-Slabs around | 15 | M2 |  | 0
3 | FENCING (SOLID BLOCKWORK AND PELISADE)
3.1 | 230mm thick Solid cement-sand blocks with strength of 4.5MPa: bedded and jointed in cement/sand mortar(1:4): external | 13 | M2 |  | 0
3.2 | Plastering internal; 12mm thick mix 1:3) cement sand plaster; 3mm thick stucco or equal and approved to masonry-walling | 13 | M2 |  | 0
3.3 | 230x300mm In-situ reinforced concrete Beam Grade-30 including necessary shuttering | 1 | M3 |  | 0
Roofing (provisional)
3.4 | Supply and fabricate; welded and socketed; 50x50x4mm Mild-steel Angle Section Trusses; apply two coats of anti-rust-paint and; one finishing gloss-oil-paint; | 40 | M |  | 0
3.5 | Supply gauge 26 gauge IT5 Resincoated Alu-zink roof sheets including self-drilling screws and fix to metal purlins. | 12 | M2 |  | 0
3.6 | Supply and fix gauge 26 resincoated plain-sheets welded to Barge and Fascia | 17 | M |  | 0
3.7 | Prime quality softwood timber; Fascia Board | 6 | M |  | 0
3.8 | UPVC Gutter 6m long complete with clips and one down-pipe 2.3 high; | 1 | Item |  | 0
Palisade Fence
3.9 | Supply and fix palisade fence; 2245mm high; comprising of robust vertical steel pales that are mounted on steel RSJ support posts (9 in Nos) which are cast into the floor (m.s) | 12 | M |  | 0
Gate and Emergency Door
3.1 | Supply and fix; Double-Leafs-sliding-gate; 2245mm high x 2400mm wide overall palisade gate comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
3.11 | Supply and fix; 2245mm high x 1000mm wide overall palisade door comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
4 | PAINTING
Prepare and apply to surfaces; two-coats of antirust, and spray three coats of gloss-oil-paint on;
4.1 | Palisade surfaces | 27 | M2 |  | 0
4.2 | Gate surfaces | 5 | M2 |  | 0
4.5 | Emergency-Door surfaces | 2 | M2 |  | 0
Prepare and apply; three-coats of weather-guard paints on;
4.6 | Plastered wall surfaces | 13 | M2 |  | 0
5 | POWER SUPPLY
5.1 | Electricity 3 Phase, supply and fix; armored cable (4mmx3core), about 5.5+12+3+2m in the ground/surface, with necessary accessories; | 1 | Item |  | 0
5.2 | Supply and fix; Security Lights-250W; complete with 50mmΦ steel-poles; complete with necessary accessories; | 2 | Nr |  | 0
6 | WATER-NETWORK
6.1 | Supply and fix; appropriate 1-tap, piping, fittings for emergency water use when required from the source which is about 40m away in the ground; | 1 | Item |  | 0
6.2 | Provisional; allow for fire-fighting system; probably 50mmΦ Galvanized-mildsteel pipes to BS 1387; complete with pump, horse-reel-pipe, 3000L-reserve-water-tank, pipe and nececessary accessories; | 1 | Sum |  | 0
| SUB-TOTAL |  |  |  | 0
| VAT-18% |  |  |  | 0
| TOTAL |  |  |  | 0
Amount in Words: ________________________________________________________________________
_______________________________________________________________________________________
Tenderer's Name: ________________________________________________________________________
Signature and Stamp: _____________________________________________________________________
Name and Signature of Authorized Person: ____________________________________________________
Date: __________________________________________________________________________________

## MOROGORO
BILLS OF QUANTITIES [BOQs]
CIVIL WORKS - RFP/CHAI-TZ-EAPOA-002/25
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
PREAMBLES
A1 | The project will include six (6) main tasks namely; i) Reinforced concrete plinth to support the 6t-VIE-Tank; ii) Palisade fencing around three-sides of the plinth perimeter; iii) Solid-concrete-blocks wall on one side of the plinth perimeter and, Paving-blocks Apron around the plinth-perimeter; iv) Electrical installations that include 3-phase-power-sockets and, 2-security-lights fixed on steel-poles; v) Tap-water near oxygen-tank for de-icing of valves or to handle emergency situations; vi) Fire-fighting-system which is subject to tender-outcome
A2 | Engagement of Registered Building Contractor by Contractors Registration Board (CRB) in Class-Five and above is inavitable also, a specialist domestic Electrical Sub-contractor is necessary for appropriate sketch and implementation of power and security-lights
A3 | The VIE-Tank will be supplied and installed by other Vendor; but, she will also supply the Anchor-Bolts to be embedded in the reinforced concrete slab by you as per the Drawings;
A4 | Anchor-Bolts for Vaporizers will be supplied and fixed in reinforced concrete slab complete with washers by you;
A5 | The Fire-fighting-system allowance is provisional subject to the outcome of the tender;
A6 | The site is within the Morogoro Regional Referral Hospital, Morogoro Municipal in Morogoro Region; about 150m off-Forest road to site entrance, the proposed location will be accessed from the rear gate finished with murram and can also be used as a parking area as it is hospital-road;
PRELIMINARIES
B1 | By-Laws | 1 | Item |  | 0
B2 | Power for the works | 1 | Item |  | 0
B3 | Water for the works | 1 | Item |  | 0
B4 | Working-tools such as ladders and the like; | 1 | Item |  | 0
B5 | Transport for materials | 1 | Item |  | 0
B6 | Construction management | 1 | Item |  | 0
B7 | Mix-Design for Reinforced Concrete Grade-30 | 1 | Item |  | 0
B8 | Testing of Materials (sand; aggregates; reinforcements; water) and Components (concrete-cubes; solid-blocks/bricks) | 1 | Item |  | 0
B9 | Concrete-Mixer, Plate-compactor and the like; | 1 | Item |  | 0
B10 | Cleaning the site for commissioning; | 1 | Item |  | 0
B11 | Signage | 1 | Item |  | 0
B12 | Safety-gears | 1 | Item |  | 0
1 | DEMOLITIONS AND ALTERATIONS
1.1 | Cut existing soil-heaps approximately 54M3; dispose debris away from site; fill imported sand in layers not exceeding 200mm thick approximately 54M3; | 1 | Item |  | 0
2 | EXCAVATION AND EARTHWORK
Site preparation
2.2 | Excavate Oversite average 300mm deep to remove vegetable soil load up wheel and cart away | 72 | M2 |  | 0
General excavation
Trenches excavation
2.3 | Excavate to reduce levels not exceeding 1.5m deep from stripped level | 95 | M3 |  | 0
Backfilling excavated materials
2.4 | Level and compact surface of excavation or filling in layers not exceeding 200mm thick | 32 | M3 |  | 0
Surplus excavated material
2.5 | load up and remove surplus excavated material to stockpile on/off site not exceeding 40km distance | 15 | M3 |  | 0
Imported Sand; deposited and compacted in layers granular fill compacted in 150mm layers to 95% maximum dry density (m.d.d)
2.6 | Around foundations | 10 | M3 |  | 0
2.7 | On top of hardcore | 18 | M3 |  | 0
Plunking and Strutting
2.8 | Allow for planking and strutting to sides of excavations | 1 | Item |  | 0
Disposal of Water
2.9 | Allow for keeping excavations free from mud and all water including spring and running water by pumbing pailing and other approved means | 1 | Item |  | 0
Murram blinding below hardcore surfaces
2.1 | 50mm thick layer murram or other equal and approved to the surface of trench | 35 | M2 |  | 0
Blinding; Grade 10 (nominal mix 1:3:6; 15N/mm2 at 28 days)
2.11 | 50mm thick to receive hardcore bed (m.s.) | 35 | M2 |  | 0
Hardcore Bed
2.12 | 300mm thick layer approved hardcore filling well watered, rolled and compacted in layers not exceeding 150mm thick under floors to level and slope as required | 29 | M2 |  | 0
Soil Sterilization
2.13 | TERMIDOR 25EC' or other equal and approved chemical anti-termitr treatment to top surfaces of sand-blinded hardcore | 29 | M2 |  | 0
Damp Proof Membrane (DPM)
2.14 | 1000 gauge polythene damp-proof sheeting laid on blinded smooth finished hardcore bed with 300mm side and end laps to receive conrete bed (m.s) | 29 | M2 |  | 0
In-situ Reinforced Concrete; Raft-Foundation; Grade 30
2.15 | 500mm thick floor slab | 26 | M2 |  | 0
2.16 | 150mm thick Ramp | 5 | M2 |  | 0
2.17 | Ground beam | 4 | M3 |  | 0
Reinforcement including bends, hooks, tying wires, distant blocks and ordinary spacers; Hot Rolled; High Yield Steel Bars BS 4449 - Assorted sizes as per the drawings; High Yield Strength 460MPa; Cutting and Bending as per BS 8666; to slabs and beams (Provisional)
2.18 | Y20 | 323 | Kg |  | 0
2.19 | Y16 | 323 | Kg |  | 0
2.2 | Y12 | 200 | Kg |  | 0
2.21 | Y10 | 11 | Kg |  | 0
Sawn Formwork; vertical or battering surfaces
2.22 | Edges of ground-beams | 12 | M2 |  | 0
Plinth Finishing
2.23 | 12mm thick cement sand mix (1:3) plastering; 3mm thick stucco or equal and approved surface well lied with steel trowelled finish on concrete surfaces | 12 | M2 |  | 0
2.24 | Prepare and apply three coats of black bituminous paint to rendered surfaces of plinths | 12 | M2 |  | 0
Floor Finish
2.25 | 32mm thick cement sand mix (1:3) screed well lied with steel-trowelled finish; | 31 | M2 |  | 0
Holding Down Anchor Bolts
2.26 | Tank to be anchored down using HILT-Chemical-Anchors (to be supplied and specified by tank manufacturer) to be appropriately embedded in the reinforced-concrete-slab; with minimum of 3-anchor-bolts in each-leg; | 1 | Item |  | 0
2.27 | Supply and fix metal-hollow-tubes footing to receive 40x40mm main members (m.s); embedded in reinforced concrete slab; 300mm deep | 9 | Nr |  | 0
2.28 | Supply and fix Anchor-bolts complete with washels to receive Vaporiser (to be supplied and specified by manufacturer) | 1 | Item |  | 0
Foundation Apron around plinth-perimeter
2.29 | 600x600x50mm; Concrete-Paving-Slabs around | 15 | M2 |  | 0
3 | FENCING (SOLID BLOCKWORK AND PELISADE)
3.1 | 230mm thick Solid cement-sand blocks with strength of 4.5MPa: bedded and jointed in cement/sand mortar(1:4): external | 13 | M2 |  | 0
3.2 | Plastering internal; 12mm thick mix 1:3) cement sand plaster; 3mm thick stucco or equal and approved to masonry-walling | 13 | M2 |  | 0
3.3 | 230x300mm In-situ reinforced concrete Beam Grade-30 including necessary shuttering | 1 | M3 |  | 0
Roofing (provisional)
3.4 | Supply and fabricate; welded and socketed; 50x50x4mm Mild-steel Angle Section Trusses; apply two coats of anti-rust-paint and; one finishing gloss-oil-paint; | 40 | M |  | 0
3.5 | Supply gauge 26 gauge IT5 Resincoated Alu-zink roof sheets including self-drilling screws and fix to metal purlins. | 12 | M2 |  | 0
3.6 | Supply and fix gauge 26 resincoated plain-sheets welded to Barge and Fascia | 17 | M |  | 0
3.7 | Prime quality softwood timber; Fascia Board | 6 | M |  | 0
3.8 | UPVC Gutter 6m long complete with clips and one down-pipe 2.3 high; | 1 | Item |  | 0
Palisade Fence
3.9 | Supply and fix palisade fence; 2245mm high; comprising of robust vertical steel pales that are mounted on steel RSJ support posts (9 in Nos) which are cast into the floor (m.s) | 12 | M |  | 0
Gate and Emergency Door
3.1 | Supply and fix; Double-Leafs-sliding-gate; 2245mm high x 2400mm wide overall palisade gate comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
3.11 | Supply and fix; 2245mm high x 1000mm wide overall palisade door comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
4 | PAINTING
Prepare and apply to surfaces; two-coats of antirust, and spray three coats of gloss-oil-paint on;
4.1 | Palisade surfaces | 27 | M2 |  | 0
4.2 | Gate surfaces | 5 | M2 |  | 0
4.5 | Emergency-Door surfaces | 2 | M2 |  | 0
Prepare and apply; three-coats of weather-guard paints on;
4.6 | Plastered wall surfaces | 13 | M2 |  | 0
5 | POWER SUPPLY
5.1 | Electricity 3 Phase, supply and fix; armored cable (4mmx3core), about 7.5m-on surface of electric-pole, 3.5m below paving-block and 23m in the ground with necessary accessories; | 1 | Item |  | 0
5.2 | Supply and fix; Security Lights-250W; complete with 50mmΦ steel-poles; complete with necessary accessories; | 2 | Nr |  | 0
6 | WATER-NETWORK
6.1 | Supply and fix; appropriate 1-tap, piping, fittings for emergency water use when required from the source which is about 3m away in the ground; | 1 | Item |  | 0
6.2 | Provisional; allow for fire-fighting system; probably 50mmΦ Galvanized-mildsteel pipes to BS 1387; complete with pump, horse-reel-pipe, 3000L-reserve-water-tank, pipe and nececessary accessories; | 1 | Sum |  | 0
| SUB-TOTAL |  |  |  | 0
| VAT-18% |  |  |  | 0
| TOTAL |  |  |  | 0
Amount in Words: ________________________________________________________________________
_______________________________________________________________________________________
Tenderer's Name: ________________________________________________________________________
Signature and Stamp: _____________________________________________________________________
Name and Signature of Authorized Person: ____________________________________________________
Date: __________________________________________________________________________________

## TUMBI
BILLS OF QUANTITIES [BOQs]
CIVIL WORKS - RFP/CHAI-TZ-EAPOA-002/25
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
A | PREAMBLES
A1 | The project will include six (6) main tasks namely; i) Reinforced concrete plinth to support the 6t-VIE-Tank; ii) Palisade fencing around three-sides of the plinth perimeter; iii) Solid-concrete-blocks wall on one side of the plinth perimeter and, Paving-blocks Apron around the plinth-perimeter; iv) Electrical installations that include 3-phase-power-sockets and, 2-security-lights fixed on steel-poles; v) Tap-water near oxygen-tank for de-icing of valves or to handle emergency situations; vi) Fire-fighting-system which is subject to tender-outcome
A2 | Engagement of Registered Building Contractor by Contractors Registration Board (CRB) in Class-Five and above is inavitable also, a specialist domestic Electrical Sub-contractor is necessary for appropriate sketch and implementation of power and security-lights
A3 | The VIE-Tank will be supplied and installed by other Vendor; but, she will also supply the Anchor-Bolts to be embedded in the reinforced concrete slab by you as per the Drawings;
A4 | Anchor-Bolts for Vaporizers will be supplied and fixed in reinforced concrete slab complete with washers by you;
A5 | The Fire-fighting-system allowance is provisional subject to the outcome of the tender;
A6 | The site is within the Tumbi Hospital, Kibaha District in Coast Region; with reliable tarmacked access and parking next to the tank position
B | PRELIMINARIES
B1 | By-Laws | 1 | Item |  | 0
B2 | Power for the works | 1 | Item |  | 0
B3 | Water for the works | 1 | Item |  | 0
B4 | Working-tools such as ladders and the like; | 1 | Item |  | 0
B5 | Transport for materials | 1 | Item |  | 0
B6 | Construction management | 1 | Item |  | 0
B7 | Mix-Design for Reinforced Concrete Grade-30 | 1 | Item |  | 0
B8 | Testing of Materials (sand; aggregates; reinforcements; water) and Components (concrete-cubes; solid-blocks/bricks) | 1 | Item |  | 0
B9 | Concrete-Mixer, Plate-compactor and the like; | 1 | Item |  | 0
B10 | Cleaning the site for commissioning; | 1 | Item |  | 0
B11 | Signage | 1 | Item |  | 0
B12 | Safety-gears | 1 | Item |  | 0
1 | DEMOLITIONS AND ALTERATIONS
1.1 | Cut a tree; approximately 800mm diameter, 1 in No; disposee away from site | 1 | Item |  | 0
2 | EXCAVATION AND EARTHWORK
Site preparation
2.2 | Excavate Oversite average 300mm deep to remove vegetable soil load up wheel and cart away | 72 | M2 |  | 0
General excavation
Trenches excavation
2.3 | Excavate to reduce levels not exceeding 1.5m deep from stripped level | 95 | M3 |  | 0
Backfilling excavated materials
2.4 | Level and compact surface of excavation or filling in layers not exceeding 200mm thick | 32 | M3 |  | 0
Surplus excavated material
2.5 | load up and remove surplus excavated material to stockpile on/off site not exceeding 40km distance | 15 | M3 |  | 0
Imported Sand; deposited and compacted in layers granular fill compacted in 150mm layers to 95% maximum dry density (m.d.d)
2.6 | Around foundations | 10 | M3 |  | 0
2.7 | On top of hardcore | 18 | M3 |  | 0
Plunking and Strutting
2.8 | Allow for planking and strutting to sides of excavations | 1 | Item |  | 0
Disposal of Water
2.9 | Allow for keeping excavations free from mud and all water including spring and running water by pumbing pailing and other approved means | 1 | Item |  | 0
Murram blinding below hardcore surfaces
2.1 | 50mm thick layer murram or other equal and approved to the surface of trench | 35 | M2 |  | 0
Blinding; Grade 10 (nominal mix 1:3:6; 15N/mm2 at 28 days)
2.11 | 50mm thick to receive hardcore bed (m.s.) | 35 | M2 |  | 0
Hardcore Bed
2.12 | 300mm thick layer approved hardcore filling well watered, rolled and compacted in layers not exceeding 150mm thick under floors to level and slope as required | 29 | M2 |  | 0
Soil Sterilization
2.13 | TERMIDOR 25EC' or other equal and approved chemical anti-termitr treatment to top surfaces of sand-blinded hardcore | 29 | M2 |  | 0
Damp Proof Membrane (DPM)
2.14 | 1000 gauge polythene damp-proof sheeting laid on blinded smooth finished hardcore bed with 300mm side and end laps to receive conrete bed (m.s) | 29 | M2 |  | 0
In-situ Reinforced Concrete; Raft-Foundation; Grade 30
2.15 | 500mm thick floor slab | 26 | M2 |  | 0
2.16 | 150mm thick Ramp | 5 | M2 |  | 0
2.17 | Ground beam | 4 | M3 |  | 0
Reinforcement including bends, hooks, tying wires, distant blocks and ordinary spacers; Hot Rolled; High Yield Steel Bars BS 4449 - Assorted sizes as per the drawings; High Yield Strength 460MPa; Cutting and Bending as per BS 8666; to slabs and beams (Provisional)
2.18 | Y20 | 323 | Kg |  | 0
2.19 | Y16 | 323 | Kg |  | 0
2.2 | Y12 | 200 | Kg |  | 0
2.21 | Y10 | 11 | Kg |  | 0
Sawn Formwork; vertical or battering surfaces
2.22 | Edges of ground-beams | 12 | M2 |  | 0
Plinth Finishing
2.23 | 12mm thick cement sand mix (1:3) plastering; 3mm thick stucco or equal and approved surface well lied with steel trowelled finish on concrete surfaces | 12 | M2 |  | 0
2.24 | Prepare and apply three coats of black bituminous paint to rendered surfaces of plinths | 12 | M2 |  | 0
Floor Finish
2.25 | 32mm thick cement sand mix (1:3) screed well lied with steel-trowelled finish; | 31 | M2 |  | 0
Holding Down Anchor Bolts
2.26 | Tank to be anchored down using HILT-Chemical-Anchors (to be supplied and specified by tank manufacturer) to be appropriately embedded in the reinforced-concrete-slab; with minimum of 3-anchor-bolts in each-leg; | 1 | Item |  | 0
2.27 | Supply and fix metal-hollow-tubes footing to receive 40x40mm main members (m.s); embedded in reinforced concrete slab; 300mm deep | 9 | Nr |  | 0
2.28 | Supply and fix Anchor-bolts complete with washels to receive Vaporiser (to be supplied and specified by manufacturer) | 1 | Item |  | 0
Foundation Apron around plinth-perimeter
2.29 | 600x600x50mm; Concrete-Paving-Slabs around | 15 | M2 |  | 0
3 | FENCING (SOLID BLOCKWORK AND PELISADE)
3.1 | 230mm thick Solid cement-sand blocks with strength of 4.5MPa: bedded and jointed in cement/sand mortar(1:4): external | 13 | M2 |  | 0
3.2 | Plastering internal; 12mm thick mix 1:3) cement sand plaster; 3mm thick stucco or equal and approved to masonry-walling | 13 | M2 |  | 0
3.3 | 230x300mm In-situ reinforced concrete Beam Grade-30 including necessary shuttering | 1 | M3 |  | 0
Roofing (provisional)
3.4 | Supply and fabricate; welded and socketed; 50x50x4mm Mild-steel Angle Section Trusses; apply two coats of anti-rust-paint and; one finishing gloss-oil-paint; | 40 | M |  | 0
3.5 | Supply gauge 26 gauge IT5 Resincoated Alu-zink roof sheets including self-drilling screws and fix to metal purlins. | 12 | M2 |  | 0
3.6 | Supply and fix gauge 26 resincoated plain-sheets welded to Barge and Fascia | 17 | M |  | 0
3.7 | Prime quality softwood timber; Fascia Board | 6 | M |  | 0
3.8 | UPVC Gutter 6m long complete with clips and one down-pipe 2.3 high; | 1 | Item |  | 0
Palisade Fence
3.9 | Supply and fix palisade fence; 2245mm high; comprising of robust vertical steel pales that are mounted on steel RSJ support posts (9 in Nos) which are cast into the floor (m.s) | 12 | M |  | 0
Gate and Emergency Door
3.1 | Supply and fix; Double-Leafs-sliding-gate; 2245mm high x 2400mm wide overall palisade gate comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
3.11 | Supply and fix; 2245mm high x 1000mm wide overall palisade door comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
4 | PAINTING
Prepare and apply to surfaces; two-coats of antirust, and spray three coats of gloss-oil-paint on;
4.1 | Palisade surfaces | 27 | M2 |  | 0
4.2 | Gate surfaces | 5 | M2 |  | 0
4.5 | Emergency-Door surfaces | 2 | M2 |  | 0
Prepare and apply; three-coats of weather-guard paints on;
4.6 | Plastered wall surfaces | 13 | M2 |  | 0
5 | POWER SUPPLY
5.1 | Electricity 3 Phase, supply and fix; armored cable (4mmx3core), about 18m-on surface + 50m-underground from dB located in the Laboratory; complete with necessary accessories; | 1 | Item |  | 0
5.2 | Supply and fix; Security Lights-250W; complete with 50mmΦ steel-poles; complete with necessary accessories; | 2 | Nr |  | 0
6 | WATER-NETWORK
6.1 | Supply and fix; appropriate 1-tap, piping, fittings for emergency water use when required from the source which is about 2m away in the ground; | 1 | Item |  | 0
6.2 | Provisional; allow for fire-fighting system; probably 50mmΦ Galvanized-mildsteel pipes to BS 1387; complete with pump, horse-reel-pipe, 3000L-reserve-water-tank, pipe and nececessary accessories; | 1 | Sum |  | 0
| SUB-TOTAL |  |  |  | 0
| VAT-18% |  |  |  | 0
| TOTAL |  |  |  | 0
Amount in Words: ________________________________________________________________________
_______________________________________________________________________________________
Tenderer's Name: ________________________________________________________________________
Signature and Stamp: _____________________________________________________________________
Name and Signature of Authorized Person: ____________________________________________________
Date: __________________________________________________________________________________

## BOCHI
BILLS OF QUANTITIES [BOQs]
CIVIL WORKS - RFP/CHAI-TZ-EAPOA-002/25
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
PREAMBLES
A1 | The project will include six (6) main tasks namely; i) Reinforced concrete plinth to support the 6t-VIE-Tank; ii) Palisade fencing around three-sides of the plinth perimeter; iii) Solid-concrete-blocks wall on one side of the plinth perimeter and, Paving-blocks Apron around the plinth-perimeter; iv) Electrical installations that include 3-phase-power-sockets and, 2-security-lights fixed on steel-poles; v) Tap-water near oxygen-tank for de-icing of valves or to handle emergency situations; vi) Fire-fighting-system which is subject to tender-outcome
A2 | Engagement of Registered Building Contractor by Contractors Registration Board (CRB) in Class-Five and above is inavitable also, a specialist domestic Electrical Sub-contractor is necessary for appropriate sketch and implementation of power and security-lights
A3 | The VIE-Tank will be supplied and installed by other Vendor; but, she will also supply the Anchor-Bolts to be embedded in the reinforced concrete slab by you as per the Drawings;
A4 | Anchor-Bolts for Vaporizers will be supplied and fixed in reinforced concrete slab complete with washers by you;
A5 | The Fire-fighting-system allowance is provisional subject to the outcome of the tender;
A6 | The site is within the Bochi Hospital, Ubungo District in Dar Es Salaam Region; about 300m off-Morogoro road, the proposed location will be accessed from the rear gate finished with paving blocks and can also be used as a parking area;
PRELIMINARIES
B1 | By-Laws | 1 | Item |  | 0
B2 | Power for the works | 1 | Item |  | 0
B3 | Water for the works | 1 | Item |  | 0
B4 | Working-tools such as ladders and the like; | 1 | Item |  | 0
B5 | Transport for materials | 1 | Item |  | 0
B6 | Construction management | 1 | Item |  | 0
B7 | Mix-Design for Reinforced Concrete Grade-30 | 1 | Item |  | 0
B8 | Testing of Materials (sand; aggregates; reinforcements; water) and Components (concrete-cubes; solid-blocks/bricks) | 1 | Item |  | 0
B9 | Concrete-Mixer, Plate-compactor and the like; | 1 | Item |  | 0
B10 | Cleaning the site for commissioning; | 1 | Item |  | 0
B11 | Signage | 1 | Item |  | 0
B12 | Safety-gears | 1 | Item |  | 0
1 | DEMOLITIONS AND ALTERATIONS
1.1 | Cut a tree; approximately not exceeding 200mm diameter, 1 in No; disposee away from site | 1 | Item |  | 0
1.2 | Cut soil covered with paving-blocks in an area approximately 43M3; dispose debris away from site; fill imported sand in layers not exceeding 200mm thick approximately 43M3; | 1 | Item |  | 0
2 | EXCAVATION AND EARTHWORK
Site preparation
2.2 | Excavate Oversite average 300mm deep to remove vegetable soil load up wheel and cart away | 72 | M2 |  | 0
General excavation
Trenches excavation
2.3 | Excavate to reduce levels not exceeding 1.5m deep from stripped level | 95 | M3 |  | 0
Backfilling excavated materials
2.4 | Level and compact surface of excavation or filling in layers not exceeding 200mm thick | 32 | M3 |  | 0
Surplus excavated material
2.5 | load up and remove surplus excavated material to stockpile on/off site not exceeding 40km distance | 15 | M3 |  | 0
Imported Sand; deposited and compacted in layers granular fill compacted in 150mm layers to 95% maximum dry density (m.d.d)
2.6 | Around foundations | 10 | M3 |  | 0
2.7 | On top of hardcore | 18 | M3 |  | 0
Plunking and Strutting
2.8 | Allow for planking and strutting to sides of excavations | 1 | Item |  | 0
Disposal of Water
2.9 | Allow for keeping excavations free from mud and all water including spring and running water by pumbing pailing and other approved means | 1 | Item |  | 0
Murram blinding below hardcore surfaces
2.1 | 50mm thick layer murram or other equal and approved to the surface of trench | 35 | M2 |  | 0
Blinding; Grade 10 (nominal mix 1:3:6; 15N/mm2 at 28 days)
2.11 | 50mm thick to receive hardcore bed (m.s.) | 35 | M2 |  | 0
Hardcore Bed
2.12 | 300mm thick layer approved hardcore filling well watered, rolled and compacted in layers not exceeding 150mm thick under floors to level and slope as required | 29 | M2 |  | 0
Soil Sterilization
2.13 | TERMIDOR 25EC' or other equal and approved chemical anti-termitr treatment to top surfaces of sand-blinded hardcore | 29 | M2 |  | 0
Damp Proof Membrane (DPM)
2.14 | 1000 gauge polythene damp-proof sheeting laid on blinded smooth finished hardcore bed with 300mm side and end laps to receive conrete bed (m.s) | 29 | M2 |  | 0
In-situ Reinforced Concrete; Raft-Foundation; Grade 30
2.15 | 500mm thick floor slab | 26 | M2 |  | 0
2.16 | 150mm thick Ramp | 5 | M2 |  | 0
2.17 | Ground beam | 4 | M3 |  | 0
Reinforcement including bends, hooks, tying wires, distant blocks and ordinary spacers; Hot Rolled; High Yield Steel Bars BS 4449 - Assorted sizes as per the drawings; High Yield Strength 460MPa; Cutting and Bending as per BS 8666; to slabs and beams (Provisional)
2.18 | Y20 | 323 | Kg |  | 0
2.19 | Y16 | 323 | Kg |  | 0
2.2 | Y12 | 200 | Kg |  | 0
2.21 | Y10 | 11 | Kg |  | 0
Sawn Formwork; vertical or battering surfaces
2.22 | Edges of ground-beams | 12 | M2 |  | 0
Plinth Finishing
2.23 | 12mm thick cement sand mix (1:3) plastering; 3mm thick stucco or equal and approved surface well lied with steel trowelled finish on concrete surfaces | 12 | M2 |  | 0
2.24 | Prepare and apply three coats of black bituminous paint to rendered surfaces of plinths | 12 | M2 |  | 0
Floor Finish
2.25 | 32mm thick cement sand mix (1:3) screed well lied with steel-trowelled finish; | 31 | M2 |  | 0
Holding Down Anchor Bolts
2.26 | Tank to be anchored down using HILT-Chemical-Anchors (to be supplied and specified by tank manufacturer) to be appropriately embedded in the reinforced-concrete-slab; with minimum of 3-anchor-bolts in each-leg; | 1 | Item |  | 0
2.27 | Supply and fix metal-hollow-tubes footing to receive 40x40mm main members (m.s); embedded in reinforced concrete slab; 300mm deep | 9 | Nr |  | 0
2.28 | Supply and fix Anchor-bolts complete with washels to receive Vaporiser (to be supplied and specified by manufacturer) | 1 | Item |  | 0
Foundation Apron around plinth-perimeter
2.29 | 600x600x50mm; Concrete-Paving-Slabs around | 15 | M2 |  | 0
3 | FENCING (SOLID BLOCKWORK AND PELISADE)
3.1 | 230mm thick Solid cement-sand blocks with strength of 4.5MPa: bedded and jointed in cement/sand mortar(1:4): external | 13 | M2 |  | 0
3.2 | Plastering internal; 12mm thick mix 1:3) cement sand plaster; 3mm thick stucco or equal and approved to masonry-walling | 13 | M2 |  | 0
3.3 | 230x300mm In-situ reinforced concrete Beam Grade-30 including necessary shuttering | 1 | M3 |  | 0
Roofing (provisional)
3.4 | Supply and fabricate; welded and socketed; 50x50x4mm Mild-steel Angle Section Trusses; apply two coats of anti-rust-paint and; one finishing gloss-oil-paint; | 40 | M |  | 0
3.5 | Supply gauge 26 gauge IT5 Resincoated Alu-zink roof sheets including self-drilling screws and fix to metal purlins. | 12 | M2 |  | 0
3.6 | Supply and fix gauge 26 resincoated plain-sheets welded to Barge and Fascia | 17 | M |  | 0
3.7 | Prime quality softwood timber; Fascia Board | 6 | M |  | 0
3.8 | UPVC Gutter 6m long complete with clips and one down-pipe 2.3 high; | 1 | Item |  | 0
Palisade Fence
3.9 | Supply and fix palisade fence; 2245mm high; comprising of robust vertical steel pales that are mounted on steel RSJ support posts (9 in Nos) which are cast into the floor (m.s) | 12 | M |  | 0
Gate and Emergency Door
3.1 | Supply and fix; Double Leafs-sliding-gate; 2245mm high x 2400mm wide overall palisade gate comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
3.11 | Supply and fix; 2245mm high x 1000mm wide overall palisade door comprising of robust vertical steel pales secured to horizonal rails, including all necessary iron mongery i.e hasps and staple and applying one coat red oxide primer before delivery to site and handing gate to posts (m.s.) | 1 | Nr |  | 0
4 | PAINTING
Prepare and apply to surfaces; two-coats of antirust, and spray three coats of gloss-oil-paint on;
4.1 | Palisade surfaces | 27 | M2 |  | 0
4.2 | Gate surfaces | 5 | M2 |  | 0
4.5 | Emergency-Door surfaces | 2 | M2 |  | 0
Prepare and apply; three-coats of weather-guard paints on;
4.6 | Plastered wall surfaces | 13 | M2 |  | 0
5 | POWER SUPPLY
5.1 | Electricity 3 Phase, supply and fix; armored cable (4mmx3core), about 9m-on surface with necessary accessories; | 1 | Item |  | 0
5.2 | Supply and fix; Security Lights-250W; complete with 50mmΦ steel-poles; complete with necessary accessories; | 2 | Nr |  | 0
6 | WATER-NETWORK
6.1 | Supply and fix; appropriate 1-tap, piping, fittings for emergency water use when required from the source which is about 10m away in the ground; | 1 | Item |  | 0
6.2 | Provisional; allow for extending the existing fire-fighting system with Horse-reel-point about 5m away; | 1 | Sum |  | 0
| SUB-TOTAL |  |  |  | 0
| VAT-18% |  |  |  | 0
| TOTAL |  |  |  | 0
Amount in Words: ________________________________________________________________________
_______________________________________________________________________________________
Tenderer's Name: ________________________________________________________________________
Signature and Stamp: _____________________________________________________________________
Name and Signature of Authorized Person: ____________________________________________________
Date: __________________________________________________________________________________