## Introduction
Request for Proposal for , Installation, Testing & Commissioning Medical Oxygen VIE Tanks, Control Panel & Vaporizer
Reference | RFP/CHAI-TZ-EAPOA-002/25
Posting Date | 13th May 2025
Closing date | 10th June 2025
Introduction
The Clinton Health Access Initiative (CHAI) is supporting the strengthening of medical oxygen ecosystems, including the improvement of medical oxygen availability and supply systems in Eastern Africa through support of Unitaid. The East Africa Program on Oxygen Access (EAPOA) aims to improve access to medical oxygen in low- and middle-income countries (LMICs) across East Africa. The initiative seeks to bolster the capacity of local manufacturers to meet the growing demand for medical oxygen.
CHAI intends to use part of the investment from unitaid to cover for installation of Medical Liquid Oxygen Cryogenic storage Tanks.
CHAI invites financial proposals (RFP) from Contractors interested and capable of Installation, Testing & Commissioning liquid Oxygen VIE Tanks , Control Panels and Vaporizers including piping at the following Hospitals in mainland Tanzania;
Bidders may respond and Submit their proposal for all or selected facilities.
1 | Bochi Hospital
2 | Tumbi Regional Referral Hospital
3 | Morogoro Regional Referral Hospital
4 | Dodoma Regional Referral Hospital
5 | Manyara Regional Referral Hospital
6 | Mount Meru Regional Referral Hospital
7 | Songea Regional Referral Hospital
8 | St. Benedict Ndanda Referral Hospital
9 | Sekpou Toure Regional Referral Hospital
10 | Mbeya Regional Referral Hospital
The purpose of this Request for Proposal is to:
· Provide information to potential suppliers on CHAI’s needs and requirements.
· Solicit information from potential contractor on their capacity, current lead times, pricing, and other information pertinent to procurement planning.
· Evaluate submissions to identify and shortlist qualified potential contractor.
Submissions
Interested organizations must submit their RFP (electronically) to the email ID chaitzprocurement@clintonhealthaccess.org quoting RFP/CHAI-TZ-EAPOA-002/25 in the subject line no later than 10th June 2025.
For any clarification / queries please write to us at chaitzprocurement@clintonhealthaccess.org with RFP reference number in the subject line by 23rd May 2025. CHAI may contact respondents for further discussions regarding submissions and subsequent procurement.
Project site Visit: Vendor may visit the site for verification of the site on May 22nd, 2025. Vendor should communicate with CHAI for better coordination and introduction to the respective hospital prior to the visit date via chaitzprocurement@clintonhealthacceess.org at least four days prior to the visit with subject "Request for project site visit".
Should your submission exceed 2Mb and cannot be sent by email, send an email to request an upload link with the subject ‘Requesting upload link’ to chaitzprocurement@clintonhealthaccess.org.
Submissions received after the deadline will not be considered.
Disclaimer
Distribution of this document does not mean there is any commitment on the part of CHAI to engage any entity. CHAI will not reimburse or otherwise bear any costs associated with this RFP. No fee is charged for the submission of this RFP. All material received in the response to this RFP shall become the property of CHAI and will not be returned to the respondent. CHAI reserves the right to use any information presented in any proposal.
CHAI code of conduct for suppliers
The CHAI code of conduct for suppliers is a minimum set of requirements that suppliers must meet to qualify to do business with CHAI and remain in good standing with the organization. Please read the document via this link: https://clintonhealth.app.box.com/s/w4aev9ayvkwkklonlkrz45oab80s2ero Supplier Code of Conduct and apply for this solicitation only if your organization can comply with these requirements.
Contract Price
This will be a fixed price contract based on the priced Bills of Quantities and actual quantities measured at site. All the prices should be quoted in Tsh

## Summary
| REFERENCE NUMBER | RFP/CHAI-TZ-EAPOA-002/25
Price
Item | Healthcare Facility | VIE Tank Installation | Total Tsh | Delivery Period (WKS) | Comments
1 | Bochi Hospital
2 | Tumbi Regional Referral Hospital
3 | Morogoro Regional Referral Hospital
4 | Dodoma Regional Referral Hospital
5 | Manyara Regional Referral Hospital
6 | Mount Meru Regional Referral Hospital
7 | Songea Regional Referral Hospital
8 | St. Benedict Ndanda Referral Hospital
9 | Sekou Toure Regional Referral Hospital
10 | Mbeya Regional Referral Hospital
| Total RFP SUM TSH |  | 0

## MBEYA RRH
VIE TANK INSTALLATION
| REFERENCE NUMBER | RFP/CHAI-TZ-EAPOA-002/25
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | Piping (Copper pipe manufactured from phosphorus de-oxidized non-arsenical copper to conform to BS EN HTM02-01)
| 22mm diameter degreased copper pipes in metres | 58 | LM |  | 0
2 | Piping Accessories Straight Couplers:
| 22mm diameter degreased copper straight couplers | 30 | Pcs |  | 0
3 | Elbows:
| 22mm diameter degreased copper elbows | 30 | Pcs |  | 0
4 | Reducers:
| 28x22mm diameter degreased copper reducer | 2 | Pcs |  | 0
| 22x15mm diameter degreased copper reducer | 4 | Pcs |  | 0
5 | Line ball valves c/w NIST (Medical gas line valves conforming to HTM 02-01)
| 22mm medical gas line valves | 1 | Item |  | 0
| 15mm medical gas line valves | 1 | Item |  | 0
| 22mm medical gas line Non Return valves | 2 | Item |  | 0
| 15mm medical gas line Non Return valves | 2 | Item |  | 0
| Total carried to collection on page 2 |  |  |  | 0
Page 1 of 2
REFERENCE NUMBER
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
6 | Mounting accessories
| 22mm munsen rings complete with clamps | 30 | Item |  | 0
| M10 threaded rod | 3 | LM |  | 0
| M10 hungers | 60 | no |  | 0
7 | Lifting & Cranage , Tansportation and Installation of the Liquid Oxygen VIE Tank ,10,000 Litres Capacity (Empty Weight - 5 Tons-Diameter-2.5m-Height- 6m) | 1 | Sum |  | 0
8 | Any Other Item necessary for Inter connecting the VIE Tank, the Vaporizer,the Reducing station and the existing(Specify) piping | 1 | Sum |  | 0
9 | Power Provision Single Phase, Twin Socket 240V, 50Hz( Cable size 6 mm2) | 50 | LM |  | 0
10 | Labour Cost (Installation, Testing & Commissioning) | 1 | Item |  | 0
11 | Provision of at least 2 appropriate Fire Extinguishers (Carbon Dioxide or Dry Chemical type) to be placed/anchored nearby the VIE system | 1 | Sum
12 | VIE Tank Earthing | 1 | Item
| Total carried to collection below |  |  |  | 0
Collection:
| Total brought forward from page 1 |  |  |  | 0
| Total brought down from above |  |  |  | 0
| Total |  |  |  | 0
| Add 18% VAT |  |  |  | 0
| Grand Total |  |  |  | 0
Amount in Words: ___________________________________________________________________________
Tenderer's Name:
Sign & Stamp: _____________________________________________ Date:
Witness Name: ______________________________________________
Sign: _______________________________

## SEKOU-TOURE
VIE TANK INSTALLATION
| REFERENCE NUMBER | RFP/CHAI-TZ-EAPOA-002/25
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | Piping (Copper pipe manufactured from phosphorus de-oxidized non-arsenical copper to conform to BS EN HTM02-01)
| 22mm diameter degreased copper pipes in metres | 58 | LM |  | 0
2 | Piping Accessories Straight Couplers:
| 22mm diameter degreased copper straight couplers | 30 | Pcs |  | 0
3 | Elbows:
| 22mm diameter degreased copper elbows | 30 | Pcs |  | 0
4 | Reducers:
| 28x22mm diameter degreased copper reducer | 2 | Pcs |  | 0
| 22x15mm diameter degreased copper reducer | 4 | Pcs |  | 0
5 | Line ball valves c/w NIST (Medical gas line valves conforming to HTM 02-01)
| 22mm medical gas line valves | 1 | Item |  | 0
| 15mm medical gas line valves | 1 | Item |  | 0
| 22mm medical gas line Non Return valves | 2 | Item |  | 0
| 15mm medical gas line Non Return valves | 2 | Item |  | 0
| Total carried to collection on page 2 |  |  |  | 0
Page 1 of 2
REFERENCE NUMBER
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
6 | Mounting accessories
| 22mm munsen rings complete with clamps | 30 | Item |  | 0
| M10 threaded rod | 3 | LM |  | 0
| M10 hungers | 60 | no |  | 0
7 | Lifting & Cranage , Tansportation and Installation of the Liquid Oxygen VIE Tank ,6000 Litres Capacity (Empty Weight - 5 Tons-Diameter-2.5m-Height- 6m) | 1 | Sum |  | 0
8 | Any Other Item necessary for Inter connecting the VIE Tank, the Vaporizer,the Reducing station and the existing(Specify) piping | 1 | Sum |  | 0
9 | Power Provision Single Phase, Twin Socket 240V, 50Hz( Cable size 6 mm2) | 40 | LM |  | 0
10 | Labour Cost (Installation, Testing & Commissioning) | 1 | Item |  | 0
11 | Provision of at least 2 appropriate Fire Extinguishers (Carbon Dioxide or Dry Chemical type) to be placed/anchored nearby the VIE system | 1 | Sum
12 | VIE Tank Earthing | 1 | Item
| Total carried to collection below |  |  |  | 0
Collection:
| Total brought forward from page 1 |  |  |  | 0
| Total brought down from above |  |  |  | 0
| Total |  |  |  | 0
| Add 18% VAT |  |  |  | 0
| Grand Total |  |  |  | 0
Amount in Words: ___________________________________________________________________________
Tenderer's Name:
Sign & Stamp: _____________________________________________ Date:
Witness Name: ______________________________________________
Sign: _______________________________

## MOUNT MERU RRH
VIE TANK INSTALLATION
| REFERENCE NUMBER | RFP/CHAI-TZ-EAPOA-002/25
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | Piping (Copper pipe manufactured from phosphorus de-oxidized non-arsenical copper to conform to BS EN HTM02-01)
| 22mm diameter degreased copper pipes in metres | 58 | LM |  | 0
2 | Piping Accessories Straight Couplers:
| 22mm diameter degreased copper straight couplers | 30 | Pcs |  | 0
3 | Elbows:
| 22mm diameter degreased copper elbows | 30 | Pcs |  | 0
4 | Reducers:
| 28x22mm diameter degreased copper reducer | 2 | Pcs |  | 0
| 22x15mm diameter degreased copper reducer | 4 | Pcs |  | 0
5 | Line ball valves c/w NIST (Medical gas line valves conforming to HTM 02-01)
| 22mm medical gas line valves | 1 | Item |  | 0
| 15mm medical gas line valves | 1 | Item |  | 0
| 22mm medical gas line Non Return valves | 2 | Item |  | 0
| 15mm medical gas line Non Return valves | 2 | Item |  | 0
| Total carried to collection on page 2 |  |  |  | 0
Page 1 of 2
REFERENCE NUMBER
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
6 | Mounting accessories
| 22mm munsen rings complete with clamps | 30 | Item |  | 0
| M10 threaded rod | 3 | LM |  | 0
| M10 hungers | 60 | no |  | 0
7 | Lifting & Cranage , Tansportation and Installation of the Liquid Oxygen VIE Tank ,6000 Litres Capacity (Empty Weight - 5 Tons-Diameter-2.5m-Height- 6m) | 1 | Sum |  | 0
8 | Any Other Item necessary for Inter connecting the VIE Tank, the Vaporizer,the Reducing station and the existing(Specify) piping | 1 | Sum |  | 0
9 | Power Provision Single Phase, Twin Socket 240V, 50Hz( Cable size 6 mm2) | 40 | LM |  | 0
10 | Labour Cost (Installation, Testing & Commissioning) | 1 | Item |  | 0
11 | Provision of at least 2 appropriate Fire Extinguishers (Carbon Dioxide or Dry Chemical type) to be placed/anchored nearby the VIE system | 1 | Sum
12 | VIE Tank Earthing | 1 | Item
| Total carried to collection below |  |  |  | 0
Collection:
| Total brought forward from page 1 |  |  |  | 0
| Total brought down from above |  |  |  | 0
| Total |  |  |  | 0
| Add 18% VAT |  |  |  | 0
| Grand Total |  |  |  | 0
Amount in Words: ___________________________________________________________________________
Tenderer's Name:
Sign & Stamp: _____________________________________________ Date:
Witness Name: ______________________________________________
Sign: _______________________________

## ST BENEDICT NDANDA
VIE TANK INSTALLATION
| REFERENCE NUMBER | RFP/CHAI-TZ-EAPOA-002/25
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | Piping (Copper pipe manufactured from phosphorus de-oxidized non-arsenical copper to conform to BS EN HTM02-01)
| 22mm diameter degreased copper pipes in metres | 58 | LM |  | 0
2 | Piping Accessories Straight Couplers:
| 22mm diameter degreased copper straight couplers | 30 | Pcs |  | 0
3 | Elbows:
| 22mm diameter degreased copper elbows | 30 | Pcs |  | 0
4 | Reducers:
| 28x22mm diameter degreased copper reducer | 2 | Pcs |  | 0
| 22x15mm diameter degreased copper reducer | 4 | Pcs |  | 0
5 | Line ball valves c/w NIST (Medical gas line valves conforming to HTM 02-01)
| 22mm medical gas line valves | 1 | Item |  | 0
| 15mm medical gas line valves | 1 | Item |  | 0
| 22mm medical gas line Non Return valves | 2 | Item |  | 0
| 15mm medical gas line Non Return valves | 2 | Item |  | 0
| Total carried to collection on page 2 |  |  |  | 0
Page 1 of 2
REFERENCE NUMBER
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
6 | Mounting accessories
| 22mm munsen rings complete with clamps | 30 | Item |  | 0
| M10 threaded rod | 3 | LM |  | 0
| M10 hungers | 60 | no |  | 0
7 | Lifting & Cranage , Tansportation and Installation of the Liquid Oxygen VIE Tank ,6000 Litres Capacity (Empty Weight - 5 Tons-Diameter-2.5m-Height- 6m) | 1 | Sum |  | 0
8 | Any Other Item necessary for Inter connecting the VIE Tank, the Vaporizer,the Reducing station and the existing(Specify) piping | 1 | Sum |  | 0
9 | Power Provision Single Phase, Twin Socket 240V, 50Hz( Cable size 6 mm2) | 30 | LM |  | 0
10 | Labour Cost (Installation, Testing & Commissioning) | 1 | Item |  | 0
11 | Provision of at least 2 appropriate Fire Extinguishers (Carbon Dioxide or Dry Chemical type) to be placed/anchored nearby the VIE system | 1 | Sum
12 | VIE Tank Earthing | 1 | Item
| Total carried to collection below |  |  |  | 0
Collection:
| Total brought forward from page 1 |  |  |  | 0
| Total brought down from above |  |  |  | 0
| Total |  |  |  | 0
| Add 18% VAT |  |  |  | 0
| Grand Total |  |  |  | 0
Amount in Words: ___________________________________________________________________________
Tenderer's Name:
Sign & Stamp: _____________________________________________ Date:
Witness Name: ______________________________________________
Sign: _______________________________

## SONGEA RRH
VIE TANK INSTALLATION
| REFERENCE NUMBER | RFP/CHAI-TZ-EAPOA-002/25
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | Piping (Copper pipe manufactured from phosphorus de-oxidized non-arsenical copper to conform to BS EN HTM02-01)
| 22mm diameter degreased copper pipes in metres | 58 | LM |  | 0
2 | Piping Accessories Straight Couplers:
| 22mm diameter degreased copper straight couplers | 30 | Pcs |  | 0
3 | Elbows:
| 22mm diameter degreased copper elbows | 30 | Pcs |  | 0
4 | Reducers:
| 28x22mm diameter degreased copper reducer | 2 | Pcs |  | 0
| 22x15mm diameter degreased copper reducer | 4 | Pcs |  | 0
5 | Line ball valves c/w NIST (Medical gas line valves conforming to HTM 02-01)
| 22mm medical gas line valves | 1 | Item |  | 0
| 15mm medical gas line valves | 1 | Item |  | 0
| 22mm medical gas line Non Return valves | 2 | Item |  | 0
| 15mm medical gas line Non Return valves | 2 | Item |  | 0
| Total carried to collection on page 2 |  |  |  | 0
Page 1 of 2
REFERENCE NUMBER
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
6 | Mounting accessories
| 22mm munsen rings complete with clamps | 30 | Item |  | 0
| M10 threaded rod | 3 | LM |  | 0
| M10 hungers | 60 | no |  | 0
7 | Lifting & Cranage , Tansportation and Installation of the Liquid Oxygen VIE Tank ,6000 Litres Capacity (Empty Weight - 5 Tons-Diameter-2.5m-Height- 6m) | 1 | Sum |  | 0
8 | Any Other Item necessary for Inter connecting the VIE Tank, the Vaporizer,the Reducing station and the existing(Specify) piping | 1 | Sum |  | 0
9 | Power Provision Single Phase, Twin Socket 240V, 50Hz( Cable size 6 mm2) | 30 | LM |  | 0
10 | Labour Cost (Installation, Testing & Commissioning) | 1 | Item |  | 0
11 | Provision of at least 2 appropriate Fire Extinguishers (Carbon Dioxide or Dry Chemical type) to be placed/anchored nearby the VIE system | 1 | Sum
12 | VIE Tank Earthing | 1 | Item
| Total carried to collection below |  |  |  | 0
Collection:
| Total brought forward from page 1 |  |  |  | 0
| Total brought down from above |  |  |  | 0
| Total |  |  |  | 0
| Add 18% VAT |  |  |  | 0
| Grand Total |  |  |  | 0
Amount in Words: ___________________________________________________________________________
Tenderer's Name:
Sign & Stamp: _____________________________________________ Date:
Witness Name: ______________________________________________
Sign: _______________________________

## MANYARA RRH
VIE TANK INSTALLATION
| REFERENCE NUMBER | RFP/CHAI-TZ-EAPOA-002/25
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | Piping (Copper pipe manufactured from phosphorus de-oxidized non-arsenical copper to conform to BS EN HTM02-01)
| 22mm diameter degreased copper pipes in metres | 58 | LM |  | 0
2 | Piping Accessories Straight Couplers:
| 22mm diameter degreased copper straight couplers | 30 | Pcs |  | 0
3 | Elbows:
| 22mm diameter degreased copper elbows | 30 | Pcs |  | 0
4 | Reducers:
| 28x22mm diameter degreased copper reducer | 2 | Pcs |  | 0
| 22x15mm diameter degreased copper reducer | 4 | Pcs |  | 0
5 | Line ball valves c/w NIST (Medical gas line valves conforming to HTM 02-01)
| 22mm medical gas line valves | 1 | Item |  | 0
| 15mm medical gas line valves | 1 | Item |  | 0
| 22mm medical gas line Non Return valves | 2 | Item |  | 0
| 15mm medical gas line Non Return valves | 2 | Item |  | 0
| Total carried to collection on page 2 |  |  |  | 0
Page 1 of 2
REFERENCE NUMBER
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
6 | Mounting accessories
| 22mm munsen rings complete with clamps | 30 | Item |  | 0
| M10 threaded rod | 3 | LM |  | 0
| M10 hungers | 60 | no |  | 0
7 | Lifting & Cranage , Tansportation and Installation of the Liquid Oxygen VIE Tank ,6000 Litres Capacity (Empty Weight - 5 Tons-Diameter-2.5m-Height- 6m) | 1 | Sum |  | 0
8 | Any Other Item necessary for Inter connecting the VIE Tank, the Vaporizer,the Reducing station and the existing(Specify) piping | 1 | Sum |  | 0
9 | Power Provision Single Phase, Twin Socket 240V, 50Hz( Cable size 6 mm2) | 40 | LM |  | 0
10 | Labour Cost (Installation, Testing & Commissioning) | 1 | Item |  | 0
11 | Provision of at least 2 appropriate Fire Extinguishers (Carbon Dioxide or Dry Chemical type) to be placed/anchored nearby the VIE system | 1 | Sum
12 | VIE Tank Earthing | 1 | Item
| Total carried to collection below |  |  |  | 0
Collection:
| Total brought forward from page 1 |  |  |  | 0
| Total brought down from above |  |  |  | 0
| Total |  |  |  | 0
| Add 18% VAT |  |  |  | 0
| Grand Total |  |  |  | 0
Amount in Words: ___________________________________________________________________________
Tenderer's Name:
Sign & Stamp: _____________________________________________ Date:
Witness Name: ______________________________________________
Sign: _______________________________

## DODOMA RRH
VIE TANK INSTALLATION
| REFERENCE NUMBER | RFP/CHAI-TZ-EAPOA-002/25
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | Piping (Copper pipe manufactured from phosphorus de-oxidized non-arsenical copper to conform to BS EN HTM02-01)
| 22mm diameter degreased copper pipes in metres | 145 | LM |  | 0
2 | Piping Accessories Straight Couplers:
| 22mm diameter degreased copper straight couplers | 60 | Pcs |  | 0
3 | Elbows:
| 22mm diameter degreased copper elbows | 60 | Pcs |  | 0
4 | Reducers:
| 28x22mm diameter degreased copper reducer | 2 | Pcs |  | 0
| 22x15mm diameter degreased copper reducer | 4 | Pcs |  | 0
5 | Line ball valves c/w NIST (Medical gas line valves conforming to HTM 02-01)
| 22mm medical gas line valves | 1 | Item |  | 0
| 15mm medical gas line valves | 1 | Item |  | 0
| 22mm medical gas line Non Return valves | 2 | Item |  | 0
| 15mm medical gas line Non Return valves | 2 | Item |  | 0
| Total carried to collection on page 2 |  |  |  | 0
Page 1 of 2
REFERENCE NUMBER
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
6 | Mounting accessories
| 22mm munsen rings complete with clamps | 30 | Item |  | 0
| M10 threaded rod | 3 | LM |  | 0
| M10 hungers | 90 | no |  | 0
7 | Lifting & Cranage , Tansportation and Installation of the Liquid Oxygen VIE Tank ,6000 Litres Capacity (Empty Weight - 5 Tons-Diameter-2.5m-Height- 6m) | 1 | Sum |  | 0
8 | Any Other Item necessary for Inter connecting the VIE Tank, the Vaporizer,the Reducing station and the existing(Specify) piping | 1 | Sum |  | 0
9 | Power Provision Single Phase, Twin Socket 240V, 50Hz( Cable size 6 mm2) | 30 | LM |  | 0
10 | Labour Cost (Installation, Testing & Commissioning) | 1 | Item |  | 0
11 | Provision of at least 2 appropriate Fire Extinguishers (Carbon Dioxide or Dry Chemical type) to be placed/anchored nearby the VIE system | 1 | Sum
12 | VIE Tank Earthing | 1 | Item
| Total carried to collection below |  |  |  | 0
Collection:
| Total brought forward from page 1 |  |  |  | 0
| Total brought down from above |  |  |  | 0
| Total |  |  |  | 0
| Add 18% VAT |  |  |  | 0
| Grand Total |  |  |  | 0
Amount in Words: ___________________________________________________________________________
Tenderer's Name:
Sign & Stamp: _____________________________________________ Date:
Witness Name: ______________________________________________
Sign: _______________________________

## MOROGORO RRH
VIE TANK INSTALLATION
| REFERENCE NUMBER | RFP/CHAI-TZ-EAPOA-002/25
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | Piping (Copper pipe manufactured from phosphorus de-oxidized non-arsenical copper to conform to BS EN HTM02-01)
| 22mm diameter degreased copper pipes in metres | 81 | LM |  | 0
2 | Piping Accessories Straight Couplers:
| 22mm diameter degreased copper straight couplers | 50 | Pcs |  | 0
3 | Elbows:
| 22mm diameter degreased copper elbows | 45 | Pcs |  | 0
4 | Reducers:
| 28x22mm diameter degreased copper reducer | 2 | Pcs |  | 0
| 22x15mm diameter degreased copper reducer | 4 | Pcs |  | 0
5 | Line ball valves c/w NIST (Medical gas line valves conforming to HTM 02-01)
| 22mm medical gas line valves | 1 | Item |  | 0
| 15mm medical gas line valves | 1 | Item |  | 0
| 22mm medical gas line Non Return valves | 2 | Item |  | 0
| 15mm medical gas line Non Return valves | 2 | Item |  | 0
| Total carried to collection on page 2 |  |  |  | 0
Page 1 of 2
REFERENCE NUMBER
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
6 | Mounting accessories
| 22mm munsen rings complete with clamps | 30 | Item |  | 0
| M10 threaded rod | 3 | LM |  | 0
| M10 hungers | 60 | no |  | 0
7 | Lifting & Cranage , Tansportation and Installation of the Liquid Oxygen VIE Tank ,6000 Litres Capacity (Empty Weight - 5 Tons-Diameter-2.5m-Height- 6m) | 1 | Sum |  | 0
8 | Any Other Item necessary for Inter connecting the VIE Tank, the Vaporizer,the Reducing station and the existing(Specify) piping | 1 | Sum |  | 0
9 | Power Provision Single Phase, Twin Socket 240V, 50Hz( Cable size 6 mm2) | 50 | LM |  | 0
10 | Labour Cost (Installation, Testing & Commissioning) | 1 | Item |  | 0
11 | Provision of at least 2 appropriate Fire Extinguishers (Carbon Dioxide or Dry Chemical type) to be placed/anchored nearby the VIE system | 1 | Sum
12 | VIE Tank Earthing | 1 | Item
| Total carried to collection below |  |  |  | 0
Collection:
| Total brought forward from page 1 |  |  |  | 0
| Total brought down from above |  |  |  | 0
| Total |  |  |  | 0
| Add 18% VAT |  |  |  | 0
| Grand Total |  |  |  | 0
Amount in Words: ___________________________________________________________________________
Tenderer's Name:
Sign & Stamp: _____________________________________________ Date:
Witness Name: ______________________________________________
Sign: _______________________________

## TUMBI RRH
VIE TANK INSTALLATION
| REFERENCE NUMBER | RFP/CHAI-TZ-EAPOA-002/25
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | Piping (Copper pipe manufactured from phosphorus de-oxidized non-arsenical copper to conform to BS EN HTM02-01)
| 22mm diameter degreased copper pipes in metres | 81 | LM |  | 0
2 | Piping Accessories Straight Couplers:
| 22mm diameter degreased copper straight couplers | 50 | Pcs |  | 0
3 | Elbows:
| 22mm diameter degreased copper elbows | 45 | Pcs |  | 0
4 | Reducers:
| 28x22mm diameter degreased copper reducer | 2 | Pcs |  | 0
| 22x15mm diameter degreased copper reducer | 4 | Pcs |  | 0
5 | Line ball valves c/w NIST (Medical gas line valves conforming to HTM 02-01)
| 22mm medical gas line valves | 1 | Item |  | 0
| 15mm medical gas line valves | 1 | Item |  | 0
| 22mm medical gas line Non Return valves | 2 | Item |  | 0
| 15mm medical gas line Non Return valves | 2 | Item |  | 0
| Total carried to collection on page 2 |  |  |  | 0
Page 1 of 2
REFERENCE NUMBER
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
6 | Mounting accessories
| 22mm munsen rings complete with clamps | 30 | Item |  | 0
| M10 threaded rod | 3 | LM |  | 0
| M10 hungers | 60 | no |  | 0
7 | Lifting & Cranage , Tansportation and Installation of the Liquid Oxygen VIE Tank ,6000 Litres Capacity (Empty Weight - 5 Tons-Diameter-2.5m-Height- 6m) | 1 | Sum |  | 0
8 | Any Other Item necessary for Inter connecting the VIE Tank, the Vaporizer,the Reducing station and the existing(Specify) piping | 1 | Sum |  | 0
9 | Power Provision Single Phase, Twin Socket 240V, 50Hz( Cable size 6 mm2) | 70 | LM |  | 0
10 | Labour Cost (Installation, Testing & Commissioning) | 1 | Item |  | 0
11 | Provision of at least 2 appropriate Fire Extinguishers (Carbon Dioxide or Dry Chemical type) to be placed/anchored nearby the VIE system | 1 | Sum
12 | VIE Tank Earthing | 1 | Item
| Total carried to collection below |  |  |  | 0
Collection:
| Total brought forward from page 1 |  |  |  | 0
| Total brought down from above |  |  |  | 0
| Total |  |  |  | 0
| Add 18% VAT |  |  |  | 0
| Grand Total |  |  |  | 0
Amount in Words: ___________________________________________________________________________
Tenderer's Name:
Sign & Stamp: _____________________________________________ Date:
Witness Name: ______________________________________________
Sign: _______________________________

## BOCHI HOSP
VIE TANK INSTALLATION
| REFERENCE NUMBER | RFP/CHAI-TZ-EAPOA-002/25
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
1 | Piping (Copper pipe manufactured from phosphorus de-oxidized non-arsenical copper to conform to BS EN HTM02-01)
| 22mm diameter degreased copper pipes in metres | 145 | LM |  | 0
2 | Piping Accessories Straight Couplers:
| 22mm diameter degreased copper straight couplers | 30 | Pcs |  | 0
3 | Elbows:
| 22mm diameter degreased copper elbows | 30 | Pcs |  | 0
4 | Reducers:
| 28x22mm diameter degreased copper reducer | 2 | Pcs |  | 0
| 22x15mm diameter degreased copper reducer | 4 | Pcs |  | 0
5 | Line ball valves c/w NIST (Medical gas line valves conforming to HTM 02-01)
| 22mm medical gas line valves | 1 | Item |  | 0
| 15mm medical gas line valves | 1 | Item |  | 0
| 22mm medical gas line Non Return valves | 2 | Item |  | 0
| 15mm medical gas line Non Return valves | 2 | Item |  | 0
| Total carried to collection on page 2 |  |  |  | 0
Page 1 of 2
REFERENCE NUMBER
No. | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
6 | Mounting accessories
| 22mm munsen rings complete with clamps | 30 | Item |  | 0
| M10 threaded rod | 3 | LM |  | 0
| M10 hungers | 100 | no |  | 0
7 | Lifting & Cranage , Tansportation and Installation of the Liquid Oxygen VIE Tank ,6000 Litres Capacity (Empty Weight - 5 Tons-Diameter-2.5m-Height- 6m) | 1 | Sum |  | 0
8 | Any Other Item necessary for Inter connecting the VIE Tank, the Vaporizer,the Reducing station and the existing(Specify) piping | 1 | Sum |  | 0
9 | Power Provision Single Phase, Twin Socket 240V, 50Hz( Cable size 6 mm2) | 20 | LM |  | 0
10 | Labour Cost (Installation, Testing & Commissioning) | 1 | Item |  | 0
11 | Provision of at least 2 appropriate Fire Extinguishers (Carbon Dioxide or Dry Chemical type) to be placed/anchored nearby the VIE system | 1 | Sum
12 | VIE Tank Earthing | 1 | Item
| Total carried to collection below |  |  |  | 0
Collection:
| Total brought forward from page 1 |  |  |  | 0
| Total brought down from above |  |  |  | 0
| Total |  |  |  | 0
| Add 18% VAT |  |  |  | 0
| Grand Total |  |  |  | 0
Amount in Words: ___________________________________________________________________________
Tenderer's Name:
Sign & Stamp: _____________________________________________ Date:
Witness Name: ______________________________________________
Sign: _______________________________

## REFERENCES
PROJECTS OF SIMILAR NATURE
Item | Project Name | Client | Project Amount | Project Status
Notes
Provide proof of performance ;LPOS, Contracts